1. Grinder and Waste Conveyance Inspection Log

Attachment B

Seafood Waste Size and Waste Conveyance Inspection Log

**Attachment B - Seafood Waste Size and Waste Conveyance Inspection Log**

**Maximum Size Requirements:**

1. All operators/permittees are required to reduce the size of the seafood residues to 0.5 inch (1.27 cm) or less in all dimensions.
2. All operators of processing vessels and inland water seafood waste vessels discharging seafood waste are required to inspect the seafood waste prior to discharge to ensure that the seafood waste discharged is 0.5 inch or less in all dimensions. Inland water seafood waste vessel operators must require the vessel captain to sample the effluent prior to discharge, if sampling was not performed previous to transfer of waste to the vessel, or if the operator requires the vessel to perform the grinding.

**For the grinder system (or other method of treatment) inspection:** The operator is required to conduct an inspection in accordance with the Seafood Waste Size Sampling and Analysis Protocol established in Appendix I. The analysis is performed during the processing season to confirm that grinders or other methods of treatment are operating and reducing the size of seafood waste to maximum size requirement. The operator must record each inspection performed, even if no seafood waste size violations are found in order to document that inspections are being performed as required. If not meeting the size requirement, report the number of pieces that do not meet the size requirement and include the length of the largest piece. See Permit Part 2.1.4.4.

Note: The operator must conduct daily grinder system (or other methods of treatment) inspections and sample analysis. In addition, a minimum of two (2) monthly photographs must be obtained documenting the seafood waste size sampling procedure. One photograph shall be of the sample port while sampling and the second photograph shall be of the ground seafood waste after in the sieve with a measuring device after following the procedure established in Appendix I. Each photograph must be given a unique identification number and documented in this log.

**Seafood waste conveyance system inspection**

Conduct a daily visual inspection of the seafood waste treatment system, including the sump or other places of effluent collection for removal of gloves, earplugs, rubber bands or other items that may be entrained in the wastewater. See Permit Part 2.1.4.3. Discharge of such items is prohibited.

| **PERMIT # AKG523-\_\_\_\_\_ Vessel name:** |
| --- |
|  | **Waste Conveyance System** | **Waste Grinder/Treatment System** |
| Date/Time | Inspector Initials | Waste Conveyance InspectedReport observations on foreign objects found and disposal location | Waste grinder/screen operating Y/N | Waste AnalyzedY/N | Number of Pieces greater than Maximum Size Requirement | Note any maintenance issues. Description of action taken exceeded the size requirement. Record unique picture ID numbers in this column. |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

Name, Initials, Signature of Inspector #1: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name, Initials, Signature of Inspector #2: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name, Initials, Signature of Inspector #3: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name, Initials, Signature of Inspector #4: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_