# Appendix A

# Templates for Transient Noncommunity Water Systems

The pages that follow contain templates recommended for use by transient noncommunity water systems. They are generally designed for posting, and are tailored to systems where consumers will not be able to boil or otherwise treat their water. Along with each template are instructions on how to complete the template, and suggestions for methods of delivery and modifying individual sections of the notice. These suggestions are designed to supplement the handbook, so you may see much of the information repeated here.

Mandatory language on health effects or mandatory language on unknown risks for monitoring violations, which must be included as written (with blanks filled in), is presented in italics in each notice [40 CFR 141.205(d)}.

You must also include the following italicized language in all notices, where applicable. This language will encourage word-of-mouth communication of the problem. Use of this language does not relieve you of your obligation to take steps reasonably calculated to notify persons served [40 CFR 141.202(c), 40 CFR 141.203(c), 40 CFR 141.204(c)]:

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

# Templates

# Nitrate MCL Exceedance Notice –Template NC-1

Spanish Nitrate MCL Exceedance Notice –Template NC-1A

Nitrate Failure to Take a Confirmation Sample Notice – Template NC-2

# Noncommunity PWSs Allowed Up to 20 mg/L Nitrate Notice – Template NC-3

TCR Fecal Coliform or E. coli Notice – Template NC-4

Spanish TCR Fecal Coliform or E. coli Notice – Template NC-4A

Unresolved Total Coliform Notice – Template NC-5

Monitoring Violation Notice –Template NC-6

Problem Corrected Notice –Template NC-7

Waterborne Disease Outbreak Notice – NC-8

IESWTR or LT1ESWTR CFE Maximum Turbidity Exceedance, or Turbidity Single Exceedance as Tier 1 Notice –Template NC-9

Stage 1 DBPR Chlorine Dioxide MRDL (Tier 1) Notice –Template NC-10

SWTR Failure to Filter Notice –Template NC-11

SWTRs Turbidity Exceedance Notice –Template NC-12

SWTR Disinfection Treatment Notice –Template NC-13

LT2ESWTR Uncovered Finished Water Reservoir Treatment Technique Violation Notice –Template NC-14

LT2ESWTR Failure to Conduct Required Cryptosporidium Monitoring for Any Three Months Notice –Template NC-15

LT2ESWTR Filtered System Failure to Determine and Report Bin Classification Notice –Template NC-16

# Appendix A

Templates for Transient Noncommunity Water Systems Continued

LT2ESWTR Unfiltered System Failure to Calculate and Report Mean Cryptosporidium Level Notice –Template NC-17

# LT2ESWTR Failure to Provide or Install an Additional Level of Treatment Notice –Template NC-18

# LT2ESWTR Unfiltered System Failure to Install Treatment Notice –Template NC-19

Filter Backwash Recycling Rule Treatment Technique Violation Notice –Template NC-20

# GWR Fecal Indicator-Positive Source Sample Notice –Template NC-21

GWR Failure to Take Corrective Action within Required Time Frame Notice –Template NC-22

# GWR Failure to Maintain 4-log Treatment of Viruses Notice –Template NC-23

Failure to Develop a Profile or Calculate a Benchmark Notice –Template NC-24

Instructions for Nitrate MCL Exceedance Notice – Template NC-1

Template on Reverse

Since exceeding the nitrate maximum contaminant level of 10 mg/l requires Tier 1 notification, you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)]. During this time period, you must also contact your state. This template can also be used for nitrite and total nitrate and nitrite violations. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

You may need to use additional methods if needed to reach all persons served.

If you modify the notice, you must still include all required PN elements and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Alternative Sources of Water

If you are selling or providing bottled water, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets US Food and Drug Administration (FDA) and/or state bottled water safety standards.

# Repeat Notices

If this is a repeat notice, you may wish to include an explanation similar to the following:

As you may recall, on [give date], you were also notified of high nitrate levels that occurred during the [give quarter e.g., first, second, third or fourth] of the year. Since that time the water system has been monitoring the nitrate concentration every three months. Seasonal fluctuations in nitrate concentrations have been observed due to nitrates contained in fertilizer. It appears the high nitrates occur during the later summer and fall. Note that previous tests prior to [give year] show that we were meeting drinking water standards for nitrate.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below is some sample language describing steps commonly taken by water systems with nitrate/nitrite violations. You can use the following language, if appropriate, or develop your own:

- We are investigating water treatment and other options. These may include drilling a new well or mixing the water with low-nitrate water from another source.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

Nitrate MCL Exceedance Notice – Template NC-1

DRINKING WATER WARNING

# FOR PARENTS OF INFANTS 6 MONTHS AND YOUNGER

DO NOT GIVE THE WATER TO INFANTS UNDER 6 MONTHS OLD OR USE IT TO MAKE FORMULA OR JUICE

# High nitrate levels were detected on [give date].

Bottled water should be used for infants. [We are providing bottled water for infants and their families at _____ ].

# Adults and children older than 6 months can drink the water.

On [give date], we received notice that the sample collected on [give date] showed a nitrate concentration in the drinking water of [level and units]. This is above the nitrate standard, or maximum contaminant level, of [state/federal MCL].

# Possible Health Effects

*Infants below the age of six months who drink water containing nitrate in excess of the maximum contaminant level could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome.* Blue baby syndrome is indicated by blueness of the skin. Nitrate is a concern for infants because they can’t process nitrates in the same way adults can.

Symptoms in infants can develop rapidly, with health deteriorating over a period of days. If symptoms occur in a child less than 6 months old, seek medical attention immediately. If you are pregnant or have specific health concerns, you may wish to consult your doctor.

# Steps We Are Taking

[Describe corrective action.]

We anticipate resolving the problem within [estimated time frame]. We will inform you when this problem has been corrected. For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system].   State Water System ID#: ___________.

Date distributed:______.

Instructions for Spanish Nitrate MCL Exceedance Notice – Template NC-1A

Template on Reverse

The template on reverse is a Spanish translation of Template NC-1 for a nitrate violation. All the instructions for Template NC-1 apply. If you modify the English template, you should modify this template accordingly. Schools or universities may be able to provide low cost translations. See the discussion on translations in Chapter 3 for suggestions on preparing multilingual notices.

Spanish Nitrate MCL Exceedance Notice – Template NC-1A

AVISO SOBRE SU AGUA POTABLE

# PARA LOS PADRES DE BEBES DE SEIS MESES DE EDAD Y MENORES

NO DE A BEBER EL AGUA A BEBES MENORES DE SEIS MESES DE EDAD, NI LA USE PARA LA PREPARACION DE SU JUGO O LECHE EN POLVO

# Altos niveles de nitratos fueron detectados en [date].

Deberá usarse agua embotellada para los bebés. [Tenemos agua embotellada disponible para bebes y sus familias, en ___].

Adultos y bebés mayores de seis (6) meses de edad pueden tomar el agua del grifo.

Recibimos un aviso el (fecha) que la muestra tomada el (fecha la muestra fue tomada) demuestra una concentracion de nitrato de (nivel unidades). Este nivel está por encima de la norma, o nivel máximo de contaminación (NMC) de [state/federal MCL in Spanish].

# Posibles Efectos a la Salud

*Bebés menores de seis (6) meses que ingieran agua con nitratos en exceso del nivel máximo de contaminación (NMC) se pueden enfermar de gravedad y, de no ser tratados, pueden morir. Los síntomas incluyen dificultad en respirar y síndrome de bebé azul.* El síndrome de bebé azul se refiere al color azulado que toma la piel del bebé. Los nitratos son dañinos para los bebés porque ellos no pueden procesarlos en la misma manera que los adultos pueden hacerlo.

Los síntomas en los bebés pueden desarrollarse con rapidez, con el deterioro de su salud en los días subsiguientes. Si los síntomas ocurren en bebés menores de seis (6) meses de edad, busque atención médica inmediatamente. Si usted está embarazada o tiene algún problema de salud en particular, puede optar por hacer una consulta con su médico.

# Lo Que Estamos Haciendo Al Respecto

[Describe corrective action in Spanish.]

Anticipamos que resolveremos el problema el [date of expected resolution in Spanish day-month-year]. Nosotros le informaremos cuando este problema haya sido corregido. Para mayor información, por favor póngase en contacto con [name of contact] de [system] al [phone number] o [location/address].

*Por favor comparta esta información con todo aquel que puede que tome de esta agua, sea colocando este aviso en lugares visibles, o remitiéndolo por correo, o entregandolo manualmente. Es de particular interés distribuir este aviso ampliamente si usted lo recibe representando un negocio, un hospital, hogar de infantes u hogar de ancianos o comunidad residencial.*

Este aviso ha sido enviado a usted por [system]. Numero de Identificación: ___________.

Fecha de distribución: ________.

Instructions for Nitrate Failure to Take a Confirmation Sample Notice – Template NC-2

Template on Reverse

Since failure to take a confirmation sample for nitrate within 24 hours after learning that an initial sample exceeded the MCL is a Tier 1 violation, you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)]. During this time period you must also contact your state. You should also coordinate with your local health department. This template is also applicable to nitrite and total nitrate and nitrite violations. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

You may need to use additional methods if needed to reach all persons served.

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language for monitoring and testing procedure violations [40 CFR 141.205(d)] must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Alternative Sources of Water

If you are selling or providing bottled water, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets US Food and Drug Administration (FDA) and/or state bottled water safety standards.

# Repeat Notices

If this is a repeat notice, you may wish to include an explanation similar to the following:

You were initially notified of our system’s failure to take a confirmation sample following high nitrate level on [give date]. Since that time we have taken a confirmation sample on [give date] that also resulted in a high nitrate level. We are currently monitoring the nitrate concentration every three months. Seasonal fluctuations in nitrate concentrations have been observed, due to nitrates contained in fertilizer. It appears that high nitrates occur during the later summer and fall. Note that prior to [give year] we were meeting drinking water standards for nitrate.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below is some sample language describing steps commonly taken by water systems with nitrate/nitrite violations. You can use the following language, if appropriate, or develop your own text:

- We are in the process of collecting a confirmation sample to determine if we have high nitrate levels. If the sample shows we are meeting our drinking water standards, you will not receive another notice. However, if the sample shows that we do have high nitrate levels in our water, another notification will be issued within 24 hours after we receive the results.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

Nitrate Failure to Take a Confirmation Sample Notice – Template NC-2

# DRINKING WATER WARNING

FOR PARENTS OF INFANTS 6 MONTHS AND YOUNGER

DO NOT GIVE THE WATER TO INFANTS UNDER 6 MONTHS OLD OR USE IT TO MAKE INFANT FORMULA OR JUICE

[System] did not take a confirmation sample to determine if the water has high levels of nitrate.

Bottled water should be used for infants. [We are providing bottled water for infants and their families at ____].

# Adults and children older than 6 months can drink the water.

*We are required to monitor your drinking water for nitrate on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we [‘did not monitor or test’ or ‘did not complete all monitoring or testing’] for nitrate and therefore cannot be sure of the quality of your drinking water during that time.*

On [give date], we received notice that the sample collected on [give date] showed nitrate levels above the nitrate standard, or maximum contaminant level (MCL), of [MCL]. We were required to take a confirmation sample within 24 hours. We did not complete the required confirmation sample monitoring. Nitrate in drinking water is a serious health concern for infants less than six months old.

# Possible Health Effects

Infants below the age of six months who drink water containing nitrate in excess of the maximum contaminant level could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. Blue baby syndrome is indicated by blueness of the skin. Nitrate is a concern for infants because they can’t process nitrates in the same way adults can.

Symptoms in infants can develop rapidly, with health deteriorating over a period of days. If symptoms occur in a child less than 6 months old, seek medical attention immediately. If you are pregnant or have specific health concerns, you may wish to consult your doctor.

# Steps We Are Taking

[Describe corrective action.]

We anticipate resolving the problem within [estimated time frame]. We will inform you when this problem has been corrected. For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ______.

Date distributed: ____.

Instructions for Noncommunity PWSs Allowed Up to 20 mg/L Nitrate Notice – Template NC-3

# Template on Reverse

Noncommunity water systems that have received approval by their state to exceed the nitrate maximum contaminant level of 10 mg/l but no more than 20 mg/l are required to provide Tier 1 notification. You do not incur a violation but are still required to provide public notice to persons served as soon as practical but no more than 24 hours from learning of the situation [40 CFR 141.202(b)]. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

You may need to use additional methods if needed to reach all persons served.

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Alternative Sources of Water

If you are selling or providing bottled water, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets US Food and Drug Administration (FDA) and/or state bottled water safety standards.

# Continuous Notices

As long as nitrate levels exceed 10 mg/L, continuous posting of this notice is required [40 CFR 141.209(b)].

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

Noncommunity PWSs Allowed Up to 20 mg/L Nitrate Notice – Template NC-3

DRINKING WATER WARNING

# FOR PARENTS OF INFANTS 6 MONTHS AND YOUNGER

DO NOT GIVE THE WATER TO INFANTS UNDER 6 MONTHS OLD OR USE IT TO MAKE INFANT FORMULA OR JUICE

# High nitrate levels were detected on [give date].

Adults and children older than 6 months can drink the water.

Water sample results show nitrate levels of [level and units]. This is above the nitrate standard or maximum contaminant level (MCL), of 10 mg/l. Nitrate in drinking water is a serious health concern for infants less than six months old.

We have been given permission by [state] to provide water in excess of the standard as long as:

- Nitrate levels do not exceed 20 mg/l.

- The water is not made available to children under 6 months of age.

- We continuously post this notice meeting all public notice requirements.

- Local and state health officers are notified annually.

- No adverse health effects result.

# Possible Health Effects

*Infants below the age of six months who drink water containing nitrate in excess of the maximum contaminant level could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome.* Blue baby syndrome is indicated by blueness of the skin. Nitrate is a concern for infants because they can’t process nitrates in the same way adults can.

Symptoms in infants can develop rapidly, with health deteriorating over a period of days. If symptoms occur in a child less than 6 months old, seek medical attention immediately. If you are pregnant or have specific health concerns, you may wish to consult your doctor.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed:______.

Instructions for TCR Fecal Coliform or E. coli Notice – Template NC-4

Template on Reverse

This template is intended for systems where consumers will not be able to boil water. See the suggestions below on how you can modify this template for other situations. Since exceeding the fecal coliform or E. coli maximum contaminant level requires a Tier 1 notification, you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)]. During this time period you must also contact your state. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

You may need to use additional methods if needed to reach all persons served.

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Instructions to Consumers

You may need to modify the instructions in the public notice based on your system type. For instance, at a campground, you might tell consumers to boil the water before drinking or using for food preparation.

# Alternative Sources of Water

If you are selling or providing bottled water, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets US Food and Drug Administration and state bottled water standards for bacteria and other contaminants.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with fecal coliform or E. coli violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are chlorinating and flushing the water system.

- We are increasing sampling for coliform bacteria to identify the source of contamination.

- We are repairing the wellhead seal.

- We are repairing, cleaning, and disinfecting the storage tank.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

TCR Fecal Coliform or E. coli Notice – Template NC-4

# DRINKING WATER WARNING

DO NOT DRINK THE WATER

Fecal coliform [or E. coli] bacteria were found in the water supply on [give date].

# Bottled water is available from [provide location].

# Possible Health Effects

*Fecal coliforms and E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, and people with severely compromised immune systems.*

People at increased risk should seek advice from their health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.]

We will inform you when additional samples show no [fecal coliform/E. coli] bacteria and you may drink the water. We anticipate resolving the problem within [estimated time frame]. For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system].

State Water System ID#: ___________. Date distributed:______.

Instructions for Spanish TCR Fecal Coliform or E. coli Notice – Template NC-4A

Template on Reverse

The template on reverse is a Spanish translation of Template NC-4 for a Fecal Coliform or E. coli violation. All the instructions for Template NC-4 apply. If you modify the English template, you should modify this template accordingly. Schools or universities may be able to provide low cost translations. See the discussion on translations in Chapter 3 for suggestions on multilingual notices.

Spanish TCR Fecal Coliform or E. coli Notice – Template NC-4A

AVISO SOBRE SU AGUA POTABLE

# NO BEBA EL AGUA

Bacterias coliformes fecales [o E. coli] fueron encontradas en su servicio de agua el día de [date].

# Agua embotellada está disponible en _____].

# Posibles Efectos a la Salud

*Coliformes fecales y E. coli son bacterias cuya presencia indica que el agua está contaminada con desechos humanos o de animales. Microbios en estos desechos pueden causar diarrhea, cólicos, nausea, dolores de cabeza u otros síntomas. Presentan además un riesgo especial para la salud de bebés, niños y niñas de corta edad y personas con sistemas immunológicos en alto riesgo.*

Personas en situaciones de alto riesgo deben consultar con sus proveedores de servicios médicos sobre agua apta para beber.

# Lo Que Estamos Haciendo Al Respecto

[Describe corrective action in Spanish.]

Nosotros le informaremos cuándo muestras adicionales indiquen que no existen bacterias coniformes presentes y que es permitido nuevamente beber de ésta agua. Anticipamos que resolveremos el problema el [date of expected resolution in Spanish day-month-year]. Para mayor información, por favor póngase en contacto con [name of contact] de [system] al [phone number] o [location/address].

*Por favor comparta esta información con todo aquel que puede que tome de ésta agua, sea colocando este aviso en lugares visibles, o remitiéndolo por correo, o entregandolo manualmente. Es importante distribuir este aviso ampliamente en caso que Ud. lo reciba en representación de un edificio de apartamentos, negocio, hospital, hogar de infantes, hogar de ancianos o comunidad residencial.*

Este aviso ha sido enviado a usted por [system].

Numero de Identificación: _________. Fecha de distribución: ________.

Instructions for Unresolved Total Coliform Notice – Template NC-5

Template on Reverse

This template is intended for systems where consumers will not need to boil their water or where they will not have the facilities to do so. Since exceeding the total coliform bacteria maximum contaminant level requires a Tier 2 notification, you must provide public notice to persons served as soon as practical and within 30 days after you learn of the violation [40 CFR 141.203(b)]. Persistent total coliform problems can pose a serious health risk, and your state may elevate such situations to Tier 1. Check with your state to make sure you meet all its requirements. You must issue a repeat notice every three months for as long as the violation persists.

Noncommunity water systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Description of the Violation

The template on the reverse is intended for use by systems taking fewer than 40 coliform bacteria samples a month. You can modify the template using the following language if you are required to take 40 or more samples per month:

We routinely monitor for the presence of drinking water contaminants. During [provide month], [give percentage] percent of our samples showed the presence of total coliform bacteria. The standard is that no more than 5 percent of samples may do so.

# Corrective Action

In your notice, describe corrective actions you are taking. If you know what is causing the coliform problem, explain this in the notice. Listed below are some steps commonly taken by water systems with total coliform violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are chlorinating and flushing the water system.

- We are increasing sampling for coliform bacteria to identify the source of contamination.

- We are repairing the wellhead seal.

- We are repairing, cleaning, and disinfecting the storage tank.

- We will inform you when additional samples show no coliform bacteria.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

Unresolved Total Coliform Notice – Template NC-5

DRINKING WATER NOTICE

# Tests Show Presence of Coliform Bacteria in Water

We routinely monitor for the presence of drinking water contaminants. We took [number] samples during [month]. [Number] of those samples showed the presence of total coliform bacteria. The standard is that no more than one sample per month may do so.

# What This Means

This is not an emergency. Total coliform bacteria themselves are generally not harmful. *Coliforms are bacteria which are naturally present in the environment and are used as an indicator that other, potentially-harmful, bacteria may be present. Coliforms were found in more samples than allowed and this was a warning of potential problems.*

Usually, coliforms are a sign that there could be a problem with the system’s treatment or distribution systems.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.]

We will inform you when additional samples show no coliform bacteria. We anticipate resolving the problem within [estimated time frame]. For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Monitoring Violation Notice – Template NC-6

# Template on Reverse

Since most monitoring violations are included in Tier 3, you must provide public notice to persons served within one year after you learn of the violation [40 CFR 141.204(b)]. Multiple monitoring violations can be serious, and your state may have more stringent requirements. Check with your state to make sure you meet its requirements.

Noncommunity water systems must use one of the following methods [40 CFR 141.204(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

In addition, you must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.204(c)].

You must post the notice until the violation is resolved. If the violation has already been resolved, you must post the notice for at least seven days [40 CFR 141.204(b)]. If you mail, post, or hand deliver, you should print your notice on your system’s letterhead, if available.

The template on the reverse is appropriate for use as an annual notice combining notification for several violations, as well as for notices for individual violations. This template presents violations in a table; however, you may write out an explanation for each violation if you wish.

You may need to modify the notice if you had any monitoring violations for which monitoring later showed a maximum contaminant level or other violation. In such cases, you should refer to the public notice you issued at that time. If you do modify the notice, you must still include all required PN elements and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language for monitoring and testing procedure violations [40 CFR 141.205(d)] must be included as written (with blanks filled in) and is presented in this notice in italics and with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Actions

In your notice describe corrective actions you took or are taking. Listed below are some steps commonly taken by water systems with monitoring violations. Choose the appropriate language, or develop your own text:

- We have since taken the required samples, as described in the last column of the table above. The samples showed we are meeting drinking water standards.

- We have since taken the required samples, as described in the last column of the table above. The sample for [contaminant] exceeded the limit. [Describe corrective action; use information from public notice prepared for violating the limit.]

- We plan to take the required samples soon, as described in the last column of the table above.

# After Issuing the Notice

Be sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

Monitoring Violation Notice – Template NC-6

# DRINKING WATER NOTICE

Monitoring Requirements Not Met for [System]

We violated a drinking water requirement. Even though this is not an emergency, as our customers, you have the right to know what happened and what we are doing to correct this situation.

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we [‘did not monitor’ or ‘did not complete all monitoring’] for [contaminant(s)] and therefore cannot be sure of the quality of our drinking water during that time.*

# What This Means

There is nothing you need to do at this time. The table below lists the contaminant(s) we did not properly test for, how often we are supposed to sample (frequency) and how many samples we are supposed to take, how many samples we took, when samples should have been taken, and the date on which follow-up samples were (or will be) taken.

| Contaminant | Required sampling frequency | Number of samples taken | When samples should have been taken | When samples were (or will be) taken |
| --- | --- | --- | --- | --- |
| Coliform (example) | Two samples per month | 1 | July 1, July 15, August 1 | July 1, August 1 |

Steps We Are Taking

[Describe corrective action.]

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Problem Corrected Notice – Template NC-7

Template on Reverse

It is a good idea to issue a notice when a serious violation or situation has been resolved. Although EPA regulations do not require such notices, your state may require you to issue one. You should coordinate with your local health department as well. You should use the same delivery methods you used for the original notice.

The template on the reverse is very general and can be used for any violation or situation. To help restore consumers’ confidence in the water system, you should modify the notice to fit your situation. Although the public should have seen your initial notice, there may be additional information you learned after the notice was issued. Therefore, you should describe the violation or situation again and discuss how the problem was solved.

Problem Corrected Notice – Template NC-7

DRINKING WATER PROBLEM CORRECTED

Customers of [system] were notified on [give date] of a problem with our drinking water and were advised to [describe recommended action]. We are pleased to report that the problem has been corrected and that it is no longer necessary to [describe recommended action]. We apologize for any inconvenience and thank you for your patience.

[Add further details here when appropriate.]

As always, you may contact [contact name] at [phone number] or [mailing address] with any comments or questions.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].

State Water System ID#: ___________.

Date distributed: ______.

Instructions for Waterborne Disease Outbreak Notice – Template NC-8

Template on Reverse

This template is intended for systems where consumers will not be able to boil water. See the suggestions below on how you can modify this template for other situations. Since a waterborne disease outbreak is a Tier 1 situation, you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the situation [40 CFR 141.202(b)]. You must contact your state during this time. You should coordinate with your local health department as well. You must also issue a public notice if you are experiencing a waterborne emergency other than a waterborne disease outbreak, such as one caused by flooding or treatment failure. In such cases, you may be able to modify this template to apply to your situation. Check with your state for more direction. More information on waterborne disease outbreaks and emergencies is available from the Centers for Disease Control and Prevention (http://www.cdc.gov/healthywater/disease/index.html, 1-800-311-3435). For a waterborne disease outbreak or other emergency, you must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

You may need to use additional methods if needed to reach all persons served.

# Instructions to Consumers

You may need to modify the instructions in the public notice based on your system type. For instance, at a campground, you might tell consumers to boil the water before drinking or using for food preparation. Instructions should also depend on whether your system has elevated nitrate levels; boiling water concentrates nitrates and makes levels higher. If known, list any organisms detected, the number of affected people, any water treatment problems contributing to the waterborne disease outbreak, and any sources of contamination, such as flooding. If you do modify the notice on the reverse, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

This template includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

No mandatory health effects language exists for waterborne disease outbreaks. You may wish to use the sentence below, if appropriate, or contact your state or health department. These symptoms are common to many diseases caused by microscopic organisms:

- Symptoms may include nausea, cramps, diarrhea, jaundice, and associated headaches and fatigue.

# Alternative Sources of Water

If you are providing bottled water, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets US Food and Drug Administration and state bottled water standards for bacteria and other contaminants.

# Corrective Action

In your notice, describe the corrective actions you are taking. Listed below are some steps commonly taken by water systems with waterborne disease outbreaks. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are repairing our filtration system.

- We are increasing sampling for disease-causing organisms.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

Waterborne Disease Outbreak Notice – Template NC-8

DRINKING WATER WARNING

# DO NOT DRINK THE WATER

Disease-causing Organisms Have Entered [System’s] Water Supply

Bottled water is available from [provide location].

These organisms are causing illness in people served by [system]. We learned of a waterborne disease outbreak from [agency] on [give date].

# Possible Health Effects

- [Describe symptoms of the waterborne disease.] Symptoms may include nausea, cramps, diarrhea, jaundice, and associated headaches and fatigue.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe the outbreak, corrective action, and when the outbreak might end.] We will inform you when this problem is corrected and you may drink the water. We anticipate resolving the problem within [estimated time frame].

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for IESWTR or LT1ESWTR CFE Maximum Turbidity Exceedance, or Turbidity Single Exceedance as Tier 1 Notice – Template NC-9

Template on Reverse

This template is intended for systems where consumers will not be able to boil water. If your state has designated this turbidity single exceedance as a Tier 1 violation [40 CFR 141.202(a)], you must provide public notice to persons served within 24 hours after it has been designated Tier 1 [40 CFR 141.202(b)]. Turbidity violations are Tier 2 by default, but may frequently be elevated to Tier 1 by your state. In addition, violations are automatically elevated if you are unable to consult with your state within 24 hours. In such cases, you must issue a notice within the next 24 hours. You may elevate the violation to Tier 1 yourself as well. You should also coordinate with your local health department. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

You may need to use additional methods if needed to reach all persons served.

# Instructions to Consumers

You may need to modify the instructions in the public notice based on your system type. For instance, at a campground, you might tell consumers to boil the water before drinking or using for food preparation. If you do modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Alternative Sources of Water

If you are selling or providing bottled water, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets US Food and Drug Administration and state bottled water standards for bacteria and other contaminants.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with a single turbidity exceedance. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are adding chemicals that reduce turbidity.

- We are sampling both untreated and treated water for the presence of coliform bacteria.

- We are monitoring chlorine levels and will adjust them as needed to compensate for filtration problems.

- We are inspecting and repairing the filters.

# Source of the Problem

If you know why the turbidity is high, explain it in your notice. For instance, unusual conditions such as heavy rains and flooding can overburden the water plant and treated water may therefore not meet the standards. In addition, run-off from parts of the watershed could contain increased concentrations of sediment and animal waste.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

IESWTR or LT1ESWTR CFE Maximum Turbidity Exceedance, or Turbidity Single Exceedance as Tier 1 Notice – Template NC-9

DRINKING WATER WARNING

# DO NOT DRINK THE WATER

[System] Has High Turbidity Levels

Bottled water is available from [provide location].

We routinely monitor your water for turbidity (cloudiness). This tells us whether we are effectively filtering the water supply. A water sample taken [give date] showed turbidity levels of [number] turbidity units. This is above the standard of [standard] turbidity units. Because of these high levels of turbidity, there is an increased chance that the water may contain disease-causing organisms.

# Possible Health Effects

*Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease causing organisms. These organisms include bacteria, viruses, and parasites, which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* The symptoms above are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe reason for the high turbidity, corrective action, and when the system expects to return to compliance.] We will inform you when turbidity returns to appropriate levels and you may drink the water.

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Stage 1 DBPR Chlorine Dioxide MRDL (Tier 1) Notice – Template NC-10

Template on Reverse

When one or more of the samples taken in the distribution system exceeds the chlorine dioxide MRDL on the day after a chlorine dioxide measurement taken at the entrance to the distribution system exceeds the MRDL, or when required samples are not taken in the distribution system, you must provide Tier 1 public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)]. You must also contact your state within 24 hours of learning of the violation or situation. You should also coordinate with your local health department. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

You may need to use additional methods if needed to reach all persons served.

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Alternative Sources of Water

If you are selling or providing bottled water, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets US Food and Drug Administration and state bottled water standards for bacteria and other contaminants.

# Population at Risk

The language on the reverse lists “young children” as one of the groups at increased risk. Because the potential health effects of chlorine dioxide are based on tests on laboratory animals, there is no way to determine at exactly what age the water is safe to drink. If your consumers have questions, encourage them to err on the side of caution.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with chlorine dioxide violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are resetting the chlorine dioxide generator to generate the correct amount of chlorine dioxide.

- We are repairing the chlorine dioxide generator.

- We have already fixed the problem but it will take additional time for the extra chlorine dioxide to be flushed from the distribution system (pipes).

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

Stage 1 DBPR Chlorine Dioxide MRDL (Tier 1) Notice – Template NC-10

DRINKING WATER WARNING

PREGNANT WOMEN AND YOUNG CHILDREN SHOULD NOT DRINK THE WATER

# Bottled water is available from [provide location].

On [give date], we received notice that the sample collected on [give date] showed chlorine dioxide levels of [level and units]. This is above the standard, or maximum residual disinfectant level (MRDL) of 0.8 milligrams per liter. Chlorine dioxide is used for disinfection, but too much of it over a short period of time may harm the development of children, infants, and fetuses.

# Possible Health Effects

- *Some infants and young children who drink water containing chlorine dioxide in excess of the MRDL could experience nervous system effects. Similar effects may occur in fetuses of pregnant mothers who drink water containing chlorine dioxide in excess of the MRDL. Some people may experience anemia.

The chlorine dioxide violations reported today include exceedances of the EPA standard within the distribution system which delivers water to consumers. Violations of the chlorine dioxide standard within the distribution system may harm human health based on short-term exposures. Certain groups, including fetuses, infants, and young children, may be especially susceptible to nervous system effects from excessive chlorine dioxide exposure. There are no obvious symptoms, but chlorine dioxide can affect development of the nervous system.*

- Water, juice, and formula for young children and for pregnant women should not be prepared with tap water. Adults who are not pregnant and older children can drink the tap water because their nervous systems are already developed. However, if you have specific health concerns, you may wish to consult your doctor.

# Steps We Are Taking

[Describe corrective action.] We anticipate resolving the problem within [estimated time frame]. We will inform you when this problem has been corrected.

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for SWTR Failure to Filter Notice – Template NC-11

Template on Reverse

Since surface water treatment technique violations require Tier 2 notification, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity water systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with surface water treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- Our treatment plant needs upgrades to meet the requirements.

- We are installing filtration. We expect that the filtration system will be operational by [month, year].

- We are monitoring for turbidity (cloudiness), disinfectant levels, and the presence of bacteria.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

SWTR Failure to Filter Notice – Template NC-11

DRINKING WATER NOTICE

[System] Does Not Meet Treatment Requirements

On [give date], the [state] ordered us to filter the water in addition to disinfecting. We are required to install this filtration because we do not have an adequate watershed control program in place. However, we have not yet installed a filtration system.

# What This Means

This is not an emergency. We do not know of any cases of contamination. However, until improvements are made, there is an increased chance that disease-causing organisms could contaminate the water supply.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from you health care providers about drinking this water.

# Steps We Are Taking

Filtration is the best method for removing these organisms. [Describe corrective action.]

We anticipate resolving the problem within [estimated time frame]. Until filtration is installed, you will receive a notice similar to this every three months. For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for SWTRs Turbidity Exceedance Notice – Template NC-12

Template on Reverse

Since surface water treatment filtration treatment technique violations require Tier 2 notification, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements. This template may also be adapted for use with turbidity MCL violations.

| For Exceedances of Single Turbidity Limits You must consult with your state as soon as practical but within 24 hours of learning of the violation. During the consultation, the state may choose to elevate your turbidity exceedance to Tier 1. If consultation does not occur, the violation is automatically elevated to Tier 1 (use Template NC-9). For a Tier 2 notice, describe your violation as follows in the second paragraph of the notice: “Normal turbidity levels at our plant are [number] turbidity units. A water sample taken [give date] showed levels of [number] turbidity units. This was above the standard of [standard] units. Because of these high levels of turbidity, there is an increased chance that the water may contain disease-causing organisms.” | For Exceedances of Monthly Turbidity Limits Use the following language to describe your violation and insert into the second paragraph of the template: “Water samples for [month] showed that [percentage] percent of turbidity measurements were over [standard] turbidity units – the standard is that no more than 5 percent of samples may exceed [standard] turbidity units per month. The turbidity levels are relatively low. However, their persistence is a concern. Normal turbidity levels at our plant are [standard] units.” |
| --- | --- |

Noncommunity water systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with filtration treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We added chemicals that reduce turbidity.

- We sampled both untreated and treated water for the presence of coliform bacteria.

- We monitored chlorine levels and adjusted them as needed to compensate for the filtration problems.

- We inspected and cleaned the filters.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

SWTRs Turbidity Exceedance Notice – Template NC-12

DRINKING WATER NOTICE

[System] Did Not Meet Treatment Requirements

We routinely monitor your water for turbidity (cloudiness). This tells us whether we are effectively filtering the water supply. [Insert appropriate description of the violation from instructions on previous page].

# What This Means

This is not an emergency. We do not know of any cases of contamination, and none of our testing has shown disease-causing organisms in the drinking water.

*Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers  about drinking this water.

# Steps We Are Taking

A problem occurred with the treatment system at the water plant. [Describe the reason for high turbidity, corrective actions, and when the system returned or expects to return to compliance.]

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for SWTR Disinfection Treatment Notice – Template NC-13

Template on Reverse

Since surface water treatment disinfection treatment technique violations require Tier 2 notification, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Some disinfection problems may be serious. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity water systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Description of the Violation

Include one of the following descriptions of violations, and modify to fit your situation.

Not Enough Disinfection During Treatment - In order to ensure proper disinfection, water in the treatment plant must be in contact with enough chlorine or a similar disinfectant for a minimum amount of time. On [give date], this did not occur.

Although chlorine quickly kills most bacteria, it is less effective against organisms such as viruses and parasites. For this reason, water needs to mix with chlorine for a longer time period to kill such organisms. The amount of time necessary, or the “contact time,” depends on the amount of disinfectant in the water and the temperature of the water.

Disinfectant Residual - We routinely monitor for disinfectant residual in the distribution system. This measurement tells us whether we are effectively disinfecting the water supply. Disinfectant residual is the amount of chlorine or related disinfectant present in the pipes of the distribution system. If the amount of disinfectant is too low, organisms could grow in the pipes.

Monthly exceedance - During the months of [give dates], disinfectant residual was undetectable in more than 5% of samples. The requirement is that disinfectant may be undetectable in no more than 5% of samples each month for two months in a row.

Single exceedance - On [give date], disinfectant levels dropped below 0.2 milligrams per liter for [give numbers of hours] hours. The requirement is that levels may not drop below 0.2 milligrams per liter for more than four hours.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with disinfection treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are sampling/we sampled both untreated and treated water for the presence of coliform bacteria.

- We are sampling/we sampled disinfectant levels and will adjust/adjusted the amount of disinfectant added as necessary to maintain adequate levels.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

SWTR Disinfection Treatment Notice – Template NC-13

DRINKING WATER NOTICE

[System] Does/Did Not Meet Treatment Requirements

[Describe the violation - use descriptions from instructions on reverse.]

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours. Tests taken during this same time period did not indicate the presence of bacteria in the water.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe why the violation occurred and the corrective action.]

[Disinfectant residual levels/contact times] so far this month have met all requirements.

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Uncovered Finished Water Reservoir Treatment Technique Violation Notice – Template NC-14

Template on Reverse

A system’s failure to cover an uncovered finished water reservoir, provide treatment of the reservoir’s discharge, or be in compliance with a state-approved schedule to cover the reservoir(s) or treat the reservoir(s) discharge by April 1, 2009, is a treatment technique violation and requires Tier 2 notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with this type of Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR) treatment technique violation. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are developing plans to cover our uncovered finished water storage reservoir. We expect to have the reservoir covered by [give date]. Until our finished water reservoir is covered, you will receive a notice similar to this every three months.

- We are developing plans to treat the water when it leaves our uncovered finished water storage reservoir. We expect to have the treatment in place by [give date]. Until the water leaving our finished water reservoir is treated, you will receive a notice similar to this every three months.

- We are currently working with state officials to revise our schedule for covering our uncovered finished water storage reservoir. We expect to have the state-approved schedule in place by [give date] and the reservoir covered by [give date]. Until our schedule receives state approval, you will receive a notice similar to this every three months.

- We are currently working with state officials to revise our schedule for treating the discharge from our uncovered finished water storage reservoir. We expect to have the state-approved schedule in place by [give date] and treatment in place by [give date]. Until the schedule receives state approval, you will receive a notice similar to this every three months.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

LT2ESWTR Uncovered Finished Water Reservoir Treatment Technique Violation Notice – Template NC-14

DRINKING WATER NOTICE

# Uncovered Finished Water Reservoir Violation at [System]

Water systems with uncovered finished water reservoirs are required to cover these reservoirs, treat the discharge from these reservoirs, or be in compliance with a state-approved schedule to cover the reservoir(s) or provide treatment by April 1, 2009. We have failed to meet this requirement.

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours. Uncovered finished water reservoirs are a pathway for contaminants to enter the drinking water supply. Therefore, it is necessary to cover the reservoirs or treat the discharge.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.] We anticipate resolving the problem within [estimated time frame].

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________. 
Date distributed: ______.

Instructions for LT2ESWTR Failure to Conduct Required Cryptosporidium Monitoring For Any Three Months Notice – Template NC-15

Template on Reverse

A surface water system’s failure to conduct required Cryptosporidium monitoring of its source water for any three months is a monitoring violation that requires Tier 2 notification and special notice. (Note: failure to collect one or two of the scheduled samples requires Tier 3 notification. See Template NC-23 for an example.) You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for this monitoring violation (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory special notice language [40 CFR 141.211(d)(1)] must be included as written (with blanks filled in) and is presented in this notice in italics and with an asterisk on either end.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with LT2ESWTR monitoring violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We will begin collecting the required source water monitoring samples on [give date].

- We have since taken the required samples for source water monitoring.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

LT2ESWTR Failure to Conduct Required Cryptosporidium Monitoring For Any Three Months Notice – Template NC-15

DRINKING WATER NOTICE

# Monitoring Requirements Not Met for [System]

*We are required to monitor the source of your drinking water for Cryptosporidium. Results of the monitoring are to be used to determine whether water treatment at the [treatment plant name] is sufficient to adequately remove Cryptosporidium from your drinking water. We are required to complete this monitoring and make this determination by [required bin determination date]. We ‘‘did not monitor or test’’ or ‘‘did not complete all monitoring or testing’’ on schedule and, therefore, we may not be able to determine by the required date what treatment modifications, if any, must be made to ensure adequate Cryptosporidium removal. Missing this deadline may, in turn, jeopardize our ability to have the required treatment modifications, if any, completed by the deadline required, [give date].*

Cryptosporidium is a disease-causing microorganism that may be present in our raw water source.

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.] We will collect all required samples by [give date].

*For more information, please call (name of water system contact) of (name of water system) at (phone number).*

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Filtered System Failure to Determine and Report Bin Classification Notice – Template NC-16

Template on Reverse

A filtered system’s failure to determine and report their bin classification by the required date is a treatment technique violation that requires Tier 2 notification and special notice. The template on the reverse meets both of these requirements. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for this monitoring violation (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) and special notice language [40 CFR 141.211(d)(2)] must be included as written (with blanks filled in) and are presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with LT2ESWTR treatment technique violations. You can use the following language, if appropriate, or develop your own text:

- We determined our bin classification on [give date], and have notified the state.

- We are in the process of determining our bin classification and will notify the state upon completion.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers.  See Template NC-7 for a “problem corrected” notice template.

LT2ESWTR Filtered System Failure to Determine and Report Bin Classification Notice – Template NC-16

DRINKING WATER NOTICE

[System] Did Not Determine Required Treatment Based on Cryptosporidium Level

*We are required to monitor the source of your drinking water for Cryptosporidium in order to determine by [give date] whether water treatment at the [provide treatment plant name] is sufficient to adequately remove Cryptosporidium from your drinking water. We have not made this determination by the required date. Our failure to do this may jeopardize our ability to have the required treatment modifications, if any, completed by the required deadline of [give date].*

Cryptosporidium is a disease-causing microorganism that may be present in our raw water source.

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.] We anticipate resolving the problem within [estimated time frame] (or the problem was resolved on [give date]).

*For more information, please call (name of water system contact) of (name of water system) at (phone number).*

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system].   State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Unfiltered System Failure to Calculate and Report Mean Cryptosporidium Level Notice – Template NC-17

Template on Reverse

An unfiltered system’s failure to calculate and report its mean Cryptosporidium level by the required date is a treatment technique violation that requires Tier 2 notification and special notice. The template on the reverse meets both of these requirements. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for this monitoring violation (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) and special notice language [(40 CFR 141.211(d)(2)] must be included as written (with blanks filled in) and are presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with LT2ESWTR treatment technique violations. You can use the following language, if appropriate, or develop your own text:

- We determined our mean Cryptosporidium level on [give date], and have notified the state.

- We are in the process of determining our mean Cryptosporidium level and will notify the state upon completion.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers.  See Template NC-7 for a “problem corrected” notice template.

LT2ESWTR Unfiltered System Failure to Calculate and Report Mean Cryptosporidium Level Notice – Template NC-17

DRINKING WATER NOTICE

[System] Did Not Determine Cryptosporidium Level

*We are required to monitor the source of your drinking water for Cryptosporidium in order to determine by [give date] whether water treatment at the [provide treatment plant name] is sufficient to adequately remove Cryptosporidium from your drinking water. We have not made this determination by the required date. Our failure to do this may jeopardize our ability to have the required treatment modifications, if any, completed by the required deadline of [give date].*

Cryptosporidium is a disease-causing microorganism that may be present in our raw water source.

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.] We anticipate resolving the problem within [estimated time frame] (or the problem was resolved on [give date]).

*For more information, please call (name of water system contact) of (name of water system) at (phone number).*

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Filtered System Failure to Provide or Install an Additional Level of Treatment Notice – Template NC-18

Template on Reverse

A filtered system’s failure to provide or install an additional level of treatment appropriate for its Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR) bin classification by the required date, is a treatment technique violation and requires Tier 2 notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with LT2ESWTR treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are currently working to [install treatment/adjust our treatment processes] to achieve the required level of additional treatment.

- We are currently working with state officials to finalize plans for water treatment that will satisfy this requirement once it is installed.

- We have [installed treatment/made adjustments to our treatment processes] and are now achieving the required level of additional treatment.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

LT2ESWTR Filtered System Failure to Provide or Install an Additional Level of Treatment Notice – Template NC-18

DRINKING WATER NOTICE

[System] Did Not Provide the Appropriate Level of Treatment Within Required Time Frame

Cryptosporidium is a disease-causing microorganism that has been found in our raw water source. Our water system [give system name] was required to provide an additional level of treatment to address Cryptosporidium by [provide date]. We failed to do this by the required date.

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours. We do not know of any cases of contamination. However, until we provide an additional level of treatment, there is an increased chance that Cryptosporidium could contaminate the water supply.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.] We expect to achieve this additional level of treatment by [give date].

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Unfiltered System Failure to Achieve Required Inactivation Level Notice – Template NC-19

Template on Reverse

Based on Cryptosporidium monitoring results, unfiltered system’s must meet inactivation requirements for Cryptosporidium by a required date. Failure to do this is a treatment technique violation and requires Tier 2 notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with LT2ESWTR treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are currently working to adjust our treatment processes to achieve the required level of treatment.

- We are currently working with state officials and our engineers to finalize plans for water treatment that will satisfy this requirement once it is installed.

- We have made adjustments to our treatment processes and are now achieving the required level of treatment.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

LT2ESWTR Unfiltered System Failure to Achieve Required Inactivation Level Notice – Template NC-19

DRINKING WATER NOTICE

[System] Did Not Provide the Appropriate Level of Treatment Within Required Time Frame

Cryptosporidium is a disease-causing microorganism that may be in our raw water source. Our water system [give system name] was required to provide a specified level of treatment to address Cryptosporidium by [provide date]. We failed to do this by the required date.

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours. We do not know of any cases of contamination. However, until we a specified level of treatment, there is an increased chance that Cryptosporidium could contaminate the water supply.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.] We expect to achieve this specified level of treatment by [give date].

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Filtered System Failure to Achieve Required Treatment Credit Notice – Template NC-20

Template on Reverse

Based on Cryptosporidium monitoring results, some filtered systems are required to achieve additional treatment credit using a microbial toolbox option. A filtered system’s failure to achieve required treatment credit to meet the bin classification requirements, is a treatment technique violation and requires Tier 2 notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with LT2ESWTR treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are taking steps to ensure the required level of treatment can be maintained at all times.

- The reason for the lapse in treatment has been identified and addressed.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

LT2ESWTR Filtered System Failure to Achieve Required Treatment Credit Notice – Template NC-20

DRINKING WATER NOTICE

[System] Did Not Maintain the Required Level of Treatment

Cryptosporidium is a disease-causing microorganism that has been found in our raw water source. Our water system [give system name] was required to maintain a specified level of additional treatment to address Cryptosporidium. During [provide date range], our system fell below this level.

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours. We do not know of any cases of contamination. However, until we consistently maintain an additional level of treatment, there is an increased chance that Cryptosporidium could contaminate the water supply.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action and when the system returned or expects to return to compliance.]

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Unfiltered System Failure to Maintain Required Inactivation Level Notice – Template NC-21

Template on Reverse

Based on Cryptosporidium monitoring results, an unfiltered system must maintain specified inactivation levels to ensure adequate treatment for Cryptosporidium. Failure to do this is a treatment technique violation and requires Tier 2 notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with LT2ESWTR treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are taking steps to ensure the required level of treatment can be maintained at all times.

- The reason for the lapse in treatment has been identified and addressed.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

LT2ESWTR Unfiltered System Failure to Maintain Required Inactivation Level Notice – Template NC-21

DRINKING WATER NOTICE

[System] Did Not Maintain the Required Level of Treatment

Cryptosporidium is a disease-causing microorganism that may be in our raw water source. Our water system [give system name] was required to maintain a specified level of treatment to address Cryptosporidium. During [provide date range], our system fell below this level.

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours. We do not know of any cases of contamination. However, until we consistently maintain the specified level of treatment, there is an increased chance that Cryptosporidium could contaminate the water supply.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action and when the system returned or expects to return to compliance.]

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Unfiltered System Failure to Install Second Disinfectant Notice – Template NC-22

Template on Reverse

An unfiltered system’s failure to install a second disinfectant to treat for Cryptosporidium by the required date is a treatment technique violation and requires Tier 2 notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by unfiltered water systems with LT2ESWTR treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We will install a second disinfectant by [provide date] to satisfy this requirement.

- We are currently working with state officials and our engineers to finalize plans for water treatment that will satisfy this requirement once it is installed.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

LT2ESWTR Unfiltered System Failure to Install Second Disinfectant Notice – Template NC-22

DRINKING WATER NOTICE

[System] Failed to Provide the Appropriate Level of Treatment Within Required Time Frame

Our unfiltered water system [give system name] was required to use a minimum of two disinfectants to meet our treatment requirement by [give date]. We failed to have the new [ultraviolet light (U.V.)/chlorine dioxide/ozone] disinfection system installed by the required date.

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours. We do not know of any cases of contamination. However, until the second disinfectant is installed, there is an increased chance that disease-causing organisms could contaminate the water supply.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

We expect to have the [U.V./chlorine dioxide/ozone] disinfection system installed by [give date]. We will also continue to disinfect the water with chlorine, as we have in the past.

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Monitoring Violation (Tier 3) Notice – Template NC-23

Template on Reverse

The template on the reverse is another example of a monitoring violation. The example in this template is for Cryptosporidium monitoring under LT2ESWTR. If a system fails to conduct Cryptosporidium monitoring of its source water for one or two months, they are required to issue Tier 3 notification. (Note: failure to conduct required Cryptosporidium monitoring for any three months requires Tier 2 notification and special notice. See Template NC-15 for an example.) This notice can also be modified for E. coli or turbidity monitoring violations under LT2ESWTR. All the instructions of Template NC-6 apply.

LT2ESWTR Monitoring Violation (Tier 3) Notice – Template NC-23

DRINKING WATER NOTICE

# Monitoring Requirements Not Met for [System]

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we [‘did not monitor or test’ or ‘did not complete all monitoring or testing’] for Cryptosporidium and therefore cannot be sure of the quality of your drinking water during that time.*

Cryptosporidium is a disease-causing microorganism that may be present in our raw water source.

# What This Means

This is not an emergency. There is nothing you need to do at this time.

# Steps We Are Taking

[Describe corrective action.] We began collecting our monthly samples for Cryptosporidium on [give date] and will continue to follow our required monitoring schedule.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Filter Backwash Recycling Rule Treatment Technique Violation Notice – Template NC-24

Template on Reverse

Since failure to recycle spent filter backwash, thickener supernatant, and liquids from dewatering processes before all processes of the direct filtration treatment train; failure to obtain state approval for the use of an alternative recycle location; or failure to pursue capital improvements, are violations that require Tier 2 notice, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations; e.g., it may require you to provide water from an alternate source. Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Do not use overly technical terminology when describing treatment methods. You can use one or more of the following statements, if appropriate, or develop your own text:

- On [give date], we will no longer recycle our filter backwash and will not be in violation of this requirement.

- On [give date], the filter backwash will be piped to the beginning of our water treatment process and we will no longer be in violation of this requirement.

- On [give date], the filter backwash and all other current recycle flows will be discharged to waste as approved by the state.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

Filter Backwash Recycling Rule Treatment Technique Violation Notice – Template NC-24

DRINKING WATER NOTICE

[System] Did Not Meet Treatment Requirements

The Filter Backwash Recycling Rule requires water systems that recycle liquids used for water treatment to recycle these liquids through the system’s existing filtration system or to an alternate location approved by the state. Our system did not return its water treatment recycle flows to the required location or a state-approved location by the required date of [give date].

# What This Means

This is not an emergency. We do not know of any cases of contamination. However, until improvements are made, there is an increased chance that disease-causing organisms could contaminate the water supply.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.] We anticipate resolving the problem within [estimated time frame].

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ________.

Date distributed: _______

Instructions for GWR Fecal Indicator-Positive Source Sample Notice – Template NC-25

Template on Reverse

This template is intended for systems where consumers will not be able to boil water. See the suggestions below on how you can modify this template for other situations. Since detection of a fecal indicator (E. coli, enterococci, coliphage) in a ground water source sample is a situation requiring Tier 1 notice, you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)]. During this time period you must also contact your state. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

You may need to use additional methods if needed to reach all persons served.

# Instructions to Consumers

You may need to modify the instructions in the public notice based on your system type. For instance, at a campground, you might tell consumers to boil the water before drinking or using for food preparation. If you do modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Alternative Sources of Water

If you are selling or providing bottled water, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets US Food and Drug Administration (FDA) and state bottled water standards for bacteria and other contaminants.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems that have detected a fecal indicator in their ground water source. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are increasing sampling at our sources to determine the source of the contamination.

- We are working with state officials to implement corrective actions to ensure water supplies are protected against contamination.

- We are providing water from an alternative source until the problem is resolved.

- We have discontinued use of the contaminated well and will rely on our other sources to meet demand.

- We are abandoning the contaminated well and will replace it with a well constructed to standards.

- We are pursuing treatment options for disinfection of the water from this source.

- We have installed temporary disinfection while we pursue long term treatment or other options to eliminate contamination from this source.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

GWR Fecal Indicator-Positive Source Sample Notice – Template NC-25

DRINKING WATER WARNING

# DO NOT DRINK THE WATER

[System]’s [Source] Tested Positive for Fecal Indicator (E. coli, Enterococci, Coliphage) on [Give Date].

# Bottled water is available from [provide location].

# Possible Health Effects

*Fecal indicators are microbes whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term health effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems.*

People at increased risk should seek advice from their health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.]

We will inform you when you may drink the water. We anticipate resolving the problem within [estimated time frame]. For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system].

State Water System ID#: ___________. Date distributed: ______.

Instructions for GWR Failure to Take Corrective Action Within Required Time Frame Notice – Template NC-26

Template on Reverse

A system’s failure to take corrective action within the required timeframe or be in compliance with a state-approved corrective action plan and schedule for a fecal indicator-positive ground water source sample or significant deficiency under the Ground Water Rule (GWR) is a treatment technique violation and requires Tier 2 notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations. Check with your state to make sure you meet all requirements.

If this notice is for failing to address a fecal indicator-positive source sample, a Tier 1 notice for detecting a fecal indicator in the source water should have already been issued. Consider providing the history of the situation in this notice (i.e., what events lead to requiring corrective action) to avoid confusing the public when this second notice is issued.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with Ground Water Rule treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- Although we did not meet our deadline, we are now in consultation with the state to develop a corrective action plan.

- The [source of contamination/significant deficiency] has been identified and addressed.

- We have implemented a short term plan to address the immediate issue while we pursue the long-term solution.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

GWR Failure to Take Corrective Action Within Required Time Frame Notice – Template NC-26

DRINKING WATER NOTICE

[System] Failed to [Correct a Significant Deficiency/Address a Fecal Indicator-Positive Source Sample] Within Required Time Frame

Our water system [give system name] was required to take action to [correct a significant deficiency/address a fecal-indicator positive source sample] by [give date]. However, we failed to take action by the required date.

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours. We do not know of any cases of contamination. However, until the problem is corrected, there is an increased chance that disease-causing organisms could contaminate the water supply.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.] We expect to have the [significant deficiency/source of fecal contamination] corrected by [give date].

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for GWR Failure to Maintain 4-log Treatment of Viruses Notice – Template NC-27

Template on Reverse

A ground water system’s failure to maintain required 4-log treatment of viruses for a period greater than 4 hours is a treatment technique violation and requires Tier 2 notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all requirements.

Noncommunity systems must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language on health effects (from Appendix B to Subpart Q) must be included as written (with blanks filled in) and is presented in this notice in italics with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with Ground Water Rule treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are increasing disinfection to maintain our proper residual levels.

- We are pursuing improvements to our treatment system so that we can maintain required treatment at all times.

# After Issuing the Notice

Make sure to send your state a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC-7 for a “problem corrected” notice template.

GWR Failure to Maintain 4-log Treatment of Viruses Notice – Template NC-27

DRINKING WATER NOTICE

[System] Failed to Meet Treatment Requirements

Our water system [give system name] is required to [treat/disinfect] our drinking water source. From [give date] to [give date], we failed to provide the required [treatment/disinfection].

# What This Means

This is not an emergency. If it had been, you would have been notified within 24 hours. We do not know of any cases of contamination. However, until we consistently provide the required treatment, there is an increased chance that disease-causing organisms could contaminate the water supply.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

You may drink the water. However, if you have specific health concerns, consult your doctor.

If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your health care providers about drinking this water.

# Steps We Are Taking

[Describe corrective action.] We expect to have the problem resolved by [give date] (or the problem was resolved on [give date]).

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Failure to Develop a Profile and/or Calculate a Benchmark Notice – Template NC-28

Template on Reverse

Failure to develop a disinfection profile for Giardia lamblia and viruses or calculate a benchmark prior to making a significant change to your disinfection practice requires Tier 3 notification. A profile for viruses may be applicable under Long Term 1 Enhanced Surface Water Treatment Rule (LT1ESWTR) and is required under Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR). You must provide public notice to persons served within one year after you learn of the violation [40 CFR 141.204(b)]. Failure to develop a profile or calculate a benchmark can be serious and your state may have more stringent requirements. Check with your state to make sure you meet all requirements.

Noncommunity water systems must use one of the following methods [40 CFR 141.204(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Mail

In addition, you must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.204(c)].

You must post the notice until the violation is resolved. If the violation has been resolved, you must post the notice for at least seven days [40 CFR 141.204(b)]. If you mail, post, or hand deliver, you should print your notice on your system’s letterhead, if available.

If you modify the notice, you must still include all required PN elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

# Mandatory Language

Mandatory language for monitoring and testing procedure violations [40 CFR 141.205(d)] must be included as written (with blanks filled in) and is presented in this notice in italics and with an asterisk on either end.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice [40 CFR 141.205(d)] and is presented in this notice in italics and with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

# Corrective Actions

In your notice, describe corrective actions you took, or are taking. Listed below is a step commonly taken by water systems with a profiling and benchmarking violation. You can use the following language, if appropriate, or develop your own text:

- We are in the process of developing our disinfection profile and will calculate a benchmark as soon as the profile is complete.

# After Issuing the Notice

Be sure to send your state a copy of each notice and a certification that you have met all the public notification requirements within ten days after issuing the notice [40 CFR 141.31(d)].

Failure to Develop a Profile and/or Calculate a Benchmark Notice – Template NC-28

DRINKING WATER NOTICE

# Monitoring Requirements Not Met for [System]

[Prior to making any change to our disinfection practices, we are required to develop a year-long profile of our disinfection system to determine our inactivation levels for certain pathogenic organisms. Development of a profile requires monitoring disinfection parameters. We did not meet this requirement.] AND/OR

[Since we (are making/made) a change to our disinfection practice, we [are/were] required to calculate a benchmark to determine our lowest monthly inactivation level over the year. We did not calculate a benchmark.]

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we did not complete all monitoring or testing for the profile parameters and therefore cannot be sure of the quality of our drinking water during that time.*

# What This Means

This is not an emergency. There is nothing you need to do at this time.

# Steps We Are Taking

We collected all required samples on [give date]. [Describe corrective action.]

For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system].      State Water System ID#: ___________.

Date distributed: ______.