ATTACHMENT B - GRINDER AND WASTE CONVEYANCE INSPECTION LOG

For the grinder system inspection: Conduct a daily inspection of the grinder system during the processing season to confirm that grinders are operating and reducing the size of seafood waste to 0.5 inches or smaller in any dimension. If not, report the percentage that does not meet 0.5 inch and include the length of the largest piece.

For the waste conveyance system inspection: Conduct a daily visual inspection of the waste conveyance system, including the sump or other places of effluent collection for removal of gloves, earplugs, rubber bands or other items that may be entrained in the wastewater. Discharge of such items is prohibited.

| AKG52________________ | GRINDER SYSTEM |  | WASTE CONVEYANCE SYSTEM |
| --- | --- | --- | --- |
| DATE/TIME/INITIALS | Grinders Operating Y/N | Size reduced to 0.5 inch or smaller? Y/N | Report observations on foreign objects found and disposal location. |

Name, Initials, Signature of Observer #1: _______________________________________________________________

Name, Initials, Signature of Observer #2: _______________________________________________________________

Name, Initials, Signature of Observer #3: _______________________________________________________________

Name, Initials, Signature of Observer #4: _______________________________________________________________

Comments