**Industrial SWPPP Template**

Introduction

To help you develop a SWPPP that is consistent with the 2020 MSGP, the Alaska Department of Environmental Conservation (DEC) has created this Industrial SWPPP Template (or, “the Template”). Use of the Template will help ensure that your SWPPP addresses all the necessary elements required in Part 5 of the 2020 MSGP.

Before completing the Template, make sure you read and understand the requirements in the 2020 MSGP. A copy of the MSGP is available at. <http://dec.alaska.gov/water/wastewater/stormwater/multisector/>

Completion of the Industrial SWPPP template will assist with filing the Notice of Intent (NOI) for MSGP permit coverage.

**Using the Industrial SWPPP Template**

Tips for completing the Template:

* **This Template is designed for use by all facilities eligible for coverage under the 2020 MSGP. The Template is NOT tailored to your individual industrial sector. Depending on which industrial sector you fall under (see Appendix D of the 2020 MSGP), you will need to address additional SWPPP requirements outlined in Part 11 of the 2020 MSGP, respectively.**
* **Complete a SWPPP *before* submitting your Notice of Intent (NOI) for permit coverage.**
* **Each section includes “instructions” and space for your facility’s specific information. You should read the instructions for each section before you complete that section.**
* **The Template was developed in *Microsoft Word* so that you can easily add tables and additional text. Some sections may require only a brief description while others may require several pages of explanation.**
* **To make it easier to complete, the Template generally uses blue text where the operator is expected to enter information.**

DEC notes that while DEC has made every effort to ensure the accuracy of all instructions and guidance contained in the Template, the actual obligations of regulated industrial facilities are determined by the relevant provisions of the permit, not by the Template. In the event of a conflict between the Template and any corresponding provision of the MSGP, the permit controls. DEC welcomes comments on the Template at any time and will consider those comments in any future revision of this document.

Storm Water Pollution Prevention Plan

for:

Insert Facility Name

Insert Facility Address

Insert City, State, Zip Code

Insert Facility Telephone Number (if applicable)

SWPPP Contact(s):

Insert Facility Operator

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

SWPPP Preparation Date:

**\_\_ \_\_/ \_\_ \_\_ /** **\_\_ \_\_ \_\_ \_\_**

**APDES Permit Tracking Number: AKR06**\_\_ \_\_ \_\_ \_\_

Contents

[SECTION 1: FACILITY DESCRIPTION AND CONTACT INFORMATION 1](#_Toc412023225)

[1.1 Facility Information 1](#_Toc412023226)

[1.2 Contact Information/Responsible Parties 2](#_Toc412023227)

[1.3 Storm Water Pollution Prevention Team 3](#_Toc412023228)

[1.4 Activities at the Facility 3](#_Toc412023230)

[1.5 General Location Map 4](#_Toc412023231)

[1.6 Site Map(s) 5](#_Toc412023232)

[SECTION 2: POTENTIAL POLLUTANT SOURCES 6](#_Toc412023233)

[2.1 Industrial Activity and Associated Pollutants 6](#_Toc412023234)

[2.2 Spills and Leaks 7](#_Toc412023235)

[2.3 Non-Storm Water Discharges Documentation 7](#_Toc412023236)

[2.4 Salt Storage 8](#_Toc412023237)

[2.5 Sampling Data Summary 8](#_Toc412023238)

[SECTION 3: STORM WATER Control Measures 8](#_Toc412023239)

[3.1 Minimize Exposure 9](#_Toc412023240)

[3.2 Good Housekeeping 9](#_Toc412023241)

[3.3 Maintenance 9](#_Toc412023242)

[3.4 Spill Prevention and Response 10](#_Toc412023243)

[3.5 Erosion and Sediment Controls 10](#_Toc412023244)

[3.6 Management of Runoff 10](#_Toc412023245)

[3.7 Salt Storage Piles or Piles Containing Salt 11](#_Toc412023246)

[3.8 MSGP Sector-Specific Non-Numeric Effluent Limits 11](#_Toc412023247)

[3.9 Employee Training 11](#_Toc412023248)

[3.10 Non-Storm Water Discharges 11](#_Toc412023249)

[3.11 Waste, Garbage and Floatable Debris 12](#_Toc412023250)

[3.12 Dust Generation and Vehicle Tracking of Industrial Materials 12](#_Toc412023251)

[SECTION 4: Schedules and Procedures FOR MONITORING 13](#_Toc412023252)

[SECTION 5: Inspections 15](#_Toc412023254)

[SECTION 6: SWPPP CERTIFICATION 16](#_Toc412023255)

[SECTION 7: SWPPP MODIFICATIONS 17](#_Toc412023256)

[SWPPP ATTACHMENTS 18](#_Toc412023257)

Attachment A – General Location Map

Attachment B – Site Map(s)

Attachment C – 2015 MSGP

Attachment D – Additional MSGP Documentation

#

# SECTION 1: FACILITY DESCRIPTION AND CONTACT INFORMATION

## 1.1 Facility Information

Instructions:

* You will need the information from this section to complete your NOI.
* For further instruction, refer to the 2020 MSGP NOI form and instructions. A copy of the 2020 MSGP NOI is available at <http://dec.alaska.gov/water/wastewater/stormwater/multisector/> (Appendix F of the permit)
* Detailed information on determining your site’s latitude and longitude can be found at <http://water.epa.gov/type/rsl/monitoring/appendc.cfm>
* You must include a copy of the 2020 MSGP, or a reference or link to where a copy can be found, in Attachment C of your SWPPP.

|  |
| --- |
| **Facility Information** |
| Name of Facility:  |
| Street:  |
| City:  | State:  | ZIP Code:  |
| Borough or Similar Government Subdivision:  |
| Permit Tracking Number: (if covered under a previous permit) |
| Latitude/Longitude (Use **one** of three possible formats, and specify method) |
| Latitude: | Longitude: |
| 1. \_ \_ º \_ \_ ' \_ \_'' N (degrees, minutes, seconds) | 1. \_ \_ º \_ \_ ' \_ \_'' W (degrees, minutes, seconds) |
| 2. \_ \_ º \_ \_ . \_ \_' N (degrees, minutes, decimal) | 2. \_ \_ º \_ \_ . \_ \_' W (degrees, minutes, decimal) |
| 3. \_ \_ . \_ \_ \_ \_ º N (decimal) | 3. \_ \_ . \_ \_ \_ \_ º W (decimal) |
| Method for determining latitude/longitude (check one):  |
| [ ]  USGS topographic map (specify scale: ) | [ ]  EPA Web site | [ ]  GPS |
| [ ]  Other (please specify):  |
| Is the facility located in Indian Country? [ ]  Yes [ ]  No |
| If yes, name of Reservation, or if not part of a Reservation, indicate "not applicable."  |
|   |
| Is this facility considered a Federal Facility? [ ]  Yes [ ]  No |
| Estimated area of industrial activity at site exposed to storm water: (acres) |
| **Discharge Information** |
| Does this facility discharge storm water into an MS4? [ ]  Yes [ ]  NoIf yes, name of MS4 operator: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| Name(s) of water(s) that receive storm water from your facility:  |
| Are any of your discharges directly into any segment of an “impaired” water? [ ]  Yes [ ]  No |
| If Yes, identify name of the impaired water (and segment, if applicable):  Identify the pollutant(s) causing the impairment:  For pollutants identified, which do you have reason to believe will be present in your discharge?   For pollutants identified, which have a completed TMDL?  |
| Are any of your storm water discharges subject to effluent guidelines? [ ]  Yes [ ]  NoIf Yes, which guidelines apply?  |
| Primary SIC Code or 2-letter Activity Code (refer to Appendix D of the 2020 MSGP):  |
| Identify your applicable sector and subsector:  |

## 1.2 Contact Information/Responsible Parties

Instructions:

* You will need the information from this section to complete your NOI.
* List the facility operator(s), facility owner, and 24 hour emergency contact. Indicate respective responsibilities, where appropriate.
* Refer to Section I of the NOI instructions (available in Appendix F of the 2020 MSGP).

|  |
| --- |
| **Facility Operator (s):** |
| Name: Insert NameTitle: Insert Title |
| Address: Insert Address |
| City, State, Zip Code: Insert City, State, Zip Code |
| Telephone Number: Insert Telephone Number |
| Email address: Insert email address |
| Fax number: Insert fax number (optional) |
| **Facility Owner (s):** |
| Name: Insert Name |
| Address: Insert Address |
| City, State, Zip Code: Insert City, State, Zip Code |
| Telephone Number: Insert Telephone Number |
| Email address: Insert email address |
| Fax number: Insert fax number (optional) |

|  |
| --- |
| **SWPPP Contact:** |
| Name: Insert SWPPP Contact Name |
| Telephone number: Insert Telephone Number |
| Email address: Insert email address |
| Fax number: Insert fax number (optional) |

## 1.3 Storm Water Pollution Prevention Team

##

**Instructions (see 2020 MSGP Part 5.2.2):**

* Identify the staff members (by name or title) that comprise the facility’s storm water pollution prevention team as well as their individual responsibilities.
* Your storm water pollution prevention team is responsible for assisting the facility manager in developing and revising the facility’s SWPPP, implementing and maintaining control measures/BMPs, and taking corrective actions where required. Each member of the storm water pollution prevention team must have ready access to either an electronic or paper copy of applicable portions of the MSGP and your SWPPP.

|  |  |
| --- | --- |
| **Staff Names** | **Individual Responsibilities** |
| Insert name of SWPPP team member | Insert explanation of that staff person’s responsibilities relating to compliance with the permit |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |

## 1.4 Activities at the Facility

**Instructions (see 2020 MSGP Part 5.2.3):**

* Provide a general description of the nature of the industrial activities at your facility.

Insert text here

## General Location Map

Instructions (see 2020 MSGP Part 5.2.3.2):

* Provide a general location map (e.g., U.S. Geological Survey (USGS) quadrangle map) with enough detail to identify the location of your facility and all receiving waters for your storm water discharges (include as Attachment A of this SWPPP Template).

Include a copy of the general location map for this facility in Attachment A.

## Site Map(s)

Instructions (see 2020 MSGP Part 5.2.3.3):

* Include a map or maps showing the following information. The site map(s) should be included as Attachment B of this SWPPP Template.
* the size of the property in acres;
* the location and extent of significant structures and impervious surfaces;
* directions of storm water flow (use arrows);
* locations of all existing structural control measures;
* locations of all receiving waters in the immediate vicinity of your facility, indicating if any of the waters are impaired and, if so, whether the waters have TMDLs established for them;
* locations of all storm water conveyances including ditches, pipes, and swales;
* locations of potential pollutant sources identified under MSGP, Part 5.2.4.2;
* locations where significant spills or leaks identified under MSGP, Part 5.2.4.3 have occurred;
* locations of all storm water monitoring points;
* locations of storm water inlets and outfalls, with a unique identification code for each outfall (e.g., Outfall No. 1, No. 2, etc), indicating if you are treating one or more outfalls as “substantially identical” under MSGP, Parts 6.2.3, 5.2.6.2, and 7.1.1, and an approximate outline of the areas draining to each outfall;
* municipal separate storm sewer systems, where your storm water discharges to them;
* locations and descriptions of all non-storm water discharges identified under MSGP, Part 4.2.10;
* locations of the following activities where such activities are exposed to precipitation:
	+ fueling stations;
	+ vehicle and equipment maintenance and/or cleaning areas;
	+ loading/unloading areas;
	+ locations used for the treatment, storage, or disposal of wastes;
	+ liquid storage tanks;
	+ processing and storage areas;
	+ immediate access roads and rail lines used or traveled by carriers of raw materials, manufactured products, waste material, or by-products used or created by the facility;
	+ transfer areas for substances in bulk;
	+ machinery; and
* locations and sources of run-on to your site from adjacent property that contains significant quantities of pollutants.

Include a copy of the site map for this facility in Attachment B.

# SECTION 2: POTENTIAL POLLUTANT SOURCES

Instructions (see 2020 MSGP Part 5.2.4):

* In this section, you are required to describe areas at your facility where industrial materials or activities are exposed to storm water or from which allowable non-storm water discharges are released.

## Industrial Activity and Associated Pollutants

Instructions (see 2020 MSGP Parts 5.2.4.1 and 5.2.4.2):

* Include a list of industrial activities exposed to storm water (e.g., material storage; equipment/vehicle fueling, maintenance, and cleaning; cutting steel beams) and the pollutants or pollutant constituents (e.g., motor oil, fuel, battery acid, and cleaning solvents) associated with these activities.
* In your list of pollutants associated with your industrial activities, include all significant materials that have been handled, treated, stored, or disposed, and that have been exposed to storm water in the 3 years prior to the date you prepare your SWPPP.

|  |  |
| --- | --- |
| **Industrial Activity** | **Associated Pollutants** |
| Insert specific industrial activity | Insert names of pollutants or pollutant constituents that could be associated with this activity and released in storm water |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |

## 2.2 Spills and Leaks

Instructions (See 2020 MSGP Part 5.2.4.3):

* Include the following in this section:
	+ **Potential spills and leaks:** A description of where potential spills and leaks could occur at your site that could contribute pollutants to your storm water discharge, and specify which outfall(s) are likely to be affected by such spills and leaks.
	+ **Past spills and leaks:** A description of significant spills and leaks in the past 3 years of oil or toxic or hazardous pollutants that actually occurred at exposed areas, or that drained to a storm water conveyance.
* *Note: Significant spills and leaks include, but are not limited to, releases of oil or hazardous substances in excess of quantities that are reportable under CWA Section 311 (see 40 CFR 110.6 and 40 CFR 117.21) or Section 102 of the Comprehensive Environmental Response, Compensation and Liability Act (CERCLA), 42 USC §9602.*

**Areas of Site Where Potential Spills/Leaks Could Occur**

|  |  |
| --- | --- |
| **Location** | **Outfalls** |
| Insert description of area where spill/leak could occur  | Specify which outfall(s) would be affected |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] |

**Description of Past Spills/Leaks**

|  |  |  |
| --- | --- | --- |
| **Date** | **Description** | **Outfalls** |
| Insert date of spill/leak | Insert description of spill/leak (where it occurred, what happened, types of pollutants, extent of damage) | Specify which outfall(s) were affected |
| [Repeat as necessary] | [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] | [Repeat as necessary] |
| [Repeat as necessary] | [Repeat as necessary] | [Repeat as necessary] |

## 2.3 Non-Storm Water Discharges Documentation

Instructions (see 2020 MSGP Part 5.2.4.4):

* The questions below require you to provide documentation of the following:
	+ Your evaluation for the presence of non-storm water discharges at your site; and
	+ Your elimination of any unauthorized non-storm water discharges.
* Date of evaluation: Insert the date(s) of your evaluation.
* Description of the evaluation criteria used: Describe the method you used to conduct your evaluation and to determine for each non-storm water sources whether it is prohibited or allowed under the permit.
* List of the outfalls or onsite drainage points that were directly observed during the evaluation: Insert outfalls/drainage points observed.
* Different types of non-storm water discharge(s) and source locations: Describe types of non-storm water discharges observed and the corresponding outfall or drainage point.
* Action(s) taken, such as a list of control measures used to eliminate unauthorized discharge(s), if any were identified. For example, a floor drain was sealed, a sink drain was re-routed to sanitary, or an APDES permit application was submitted for an unauthorized cooling water discharge: Describe actions taken to eliminate unauthorized non-storm water discharges and the corresponding outfall/drainage point affected.

## 2.4 Salt Storage

Instructions (see 2020 MSGP Part 5.2.4.5):

* Document the location of any storage piles containing salt used for deicing or other commercial or industrial purposes.
* Note: You will be asked additional questions concerning salt storage in Section 3.7 of this SWPPP template, below.

Insert description of the location of any storage piles containing salt.

## Sampling Data Summary

Instructions (See 2020 MSGP Part 5.2.4.6):

* Summarize all storm water sampling data collected from your permitted outfalls during the previous permit term.

Insert summary of storm water sampling data collected for the past permit, and/or attach discharge monitoring reports or laboratory results.

# SECTION 3: STORM WATER Control Measures

Instructions (See 2020 MSGP Parts 5.2.5.1 and 4.2):

* In Sections 3.1 - 3.12 of this SWPPP template, you are asked to describe the storm water control measures that you have installed at your site to meet each of the permit’s “non-numeric effluent limits” in Part 4.2 of the 2020 MSGP.

## 3.1 Minimize Exposure

Instructions (see 2020 MSGP Part 4.2.1):

* Describe any structural controls or practices used to minimize the exposure of industrial activities to rain, snow, snowmelt, and runoff. Describe where the controls or practices are being implemented at your site.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## Good Housekeeping

Instructions (see 2020 MSGP Parts 4.2.2 and 5.2.6.1):

Describe any practices you are implementing to keep exposed areas of your site clean. Describe where each practice is being implemented at your site. Include here your schedule for: (1) regular pickup and disposal of waste materials, and (2) routine inspections for leaks and of the condition of drums, tanks, and containers.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.3 Maintenance

Instructions (see 2020 MSGP Parts 4.2.3 and 5.2.6.1):

* Describe procedures (1) to maintain industrial equipment so that spills/leaks are avoided, and (2) to maintain any of your site’s control measures in effective operating condition. Include the schedule you will follow for such maintenance activities. Describe where each applicable procedure is being implemented at the site.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.4 Spill Prevention and Response

Instructions (see 2020 MSGP Parts 4.2.4 and 5.2.6.1):

* Describe any structural controls or procedures used to minimize the potential for leaks, spills, and other releases. You must implement the following at a minimum:
* Procedures for plainly labeling containers (e.g., “Used Oil,” “Spent Solvents,” “Fertilizers and Pesticides,” etc.) that could be susceptible to spillage or leakage to encourage proper handling and facilitate rapid response if spills or leaks occur;
* Preventative measures such as barriers between material storage and traffic areas, secondary containment provisions, and procedures for material storage and handling;
* Procedures for expeditiously stopping, containing, and cleaning up leaks, spills, and other releases; and
* Procedures for notification of appropriate facility personnel, emergency response agencies, and regulatory agencies.

Describe where each control is to be located or where applicable procedures will be implemented.

* Note: Some facilities may be required to develop a Spill Prevention Control and Countermeasure (SPCC) plan under a separate regulatory program (40 CFR 112). If you are required to develop an SPCC plan, or you already have one, you should include references to the relevant requirements from your plan.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## Erosion and Sediment Controls

Instructions (see 2020 MSGP Part 4.2.5):

Describe structural or non-structural controls used at your site to stabilize exposed areas and contain runoff to minimize onsite erosion and potential offsite discharges of sediment. Note: You must at a minimum implement flow velocity dissipation devices at outfalls and discharge channels. Describe the location at your site where each control will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.6 Management of Runoff

Instructions (See 2020 MSGP Part 4.2.6):

Describe controls used at your site to divert, infiltrate, reuse, contain, or otherwise reduce storm water runoff. Describe the location at your site where each control will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.7 Salt Storage Piles or Piles Containing Salt

Instructions (see 2020 MSGP Part 4.2.7):

If applicable, describe structures at your site that either cover or enclose salt storage piles or piles containing salt, or that prevent the discharge of storm water from such piles. Also, describe any controls or procedures used to minimize exposure resulting from adding to or removing materials from the pile. Describe the location at your site where each control and/or procedure will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.8 MSGP Sector-Specific Non-Numeric Effluent Limits

Instructions (see 2020 MSGP Part 4.2.8):

* Describe any controls or procedures that will be used at your site to comply with any sector-specific requirements that apply to you in Part 11 of the 2020 MSGP. Describe the location at your site where each control and/or procedure will be implemented.
* Note: Sector-specific effluent limits apply to Sectors A, E, F, G, H, I, L, M, N, O, P, Q, R, S, T, U, V, X, Y, Z, and AA.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## Employee Training

Instructions (see 2020 MSGP Parts 4.2.9 and 5.2.6.1):

Describe your plan for training the employees who work in areas where industrial materials or activities are exposed to storm water, or who are responsible for implementing activities necessary to meet the conditions of the 2020 MSGP, including all members of your Pollution Prevention Team. Included in your description must be the frequency of training (note: recommended at least one time per year), and the schedule you will follow.

INSERT DESCRIPTION OF PLAN FOR TRAINING APPLICABLE STAFF HERE.

## 3.10 Non-Storm Water Discharges

Instructions (see 2020 MSGP 4.2.10):

Describe how you eliminated any unauthorized non-storm water discharges at your site. The unauthorized non-storm water discharges include any non-storm water discharges that are not specifically identified in Part 1.2.3 of the 2020 MSGP. Note: If this section is already addressed by your documentation for Section 2.3 of the SWPPP template, you can simply include a cross-reference to that section of your SWPPP.

INSERT DESCRIPTION OF YOUR APPROACH TO ELIMINATING UNAUTHORIZED NON-STORM WATER DISCHARGES HERE.

## 3.11 Waste, Garbage and Floatable Debris

Instructions (see 2020 MSGP Part 4.2.11):

Describe controls and procedures that will be used at your site to minimize discharges of waste, garbage, and floatable debris. Describe the location at your site where each control and/or procedure will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

## 3.12 Dust Generation and Vehicle Tracking of Industrial Materials

Instructions (see 2020 MSGP Part 4.2.12):

Describe controls and procedures you will use at your site to minimize the generation of dust and off-site tracking of raw, final, or waste materials. Describe the location at your site where each control and/or procedures will be implemented.

INSERT DESCRIPTION OF CONTROL MEASURES HERE.

# SECTION 4: Schedules and Procedures FOR MONITORING

Instructions (see 2020 MSGP Part 5.2.6.2):

* Describe your procedures for conducting the five types of analytical monitoring specified by the MSGP, where applicable to your facility, including:
	+ Benchmark monitoring (2020 MSGP, Part 7.2.1 and relevant requirements in Part 11 );
	+ Effluent limitations guidelines monitoring (2020 MSGP, Part 7.2.2 and relevant requirements in Part 11);
	+ Impaired waters monitoring (2020 MSGP, Part 7.2.3); and
	+ Other monitoring as required by DEC (2020 MSGP, Part 7.2.4).
* Depending on the type of facility you operate, and the monitoring requirements to which you are subject, you must collect and analyze storm water samples and document monitoring activities consistent with the procedures described in 2020 MSGP, Part 7 and Appendix A, and any additional sector-specific requirements in 2020 MSGP, Part 11. Refer to 2020 MSGP, Part 9 for reporting and recordkeeping requirements. Note: All monitoring must be conducted in accordance with the relevant sampling and analysis requirements at 40 CFR Part 136. Include in your description procedures for ensuring compliance with these requirements.
	+ - * + If you are invoking the exception for inactive and unstaffed sites for benchmark monitoring, you must include in your SWPPP the information to support this claim as required by 2020 MSGP, Part 7.2.1.6.
				+ If you plan to use the substantially identical outfall exception for your benchmark monitoring requirements in 2020 MSGP, Part 7.2.1 and/or your quarterly visual assessment requirements in 2020 MSGP, Part 6.2.3, you must include the following documentation:

Location of each of the substantially identical outfalls;

Description of the general industrial activities conducted in the drainage area of each outfall;

Description of the control measures implemented in the drainage area of each outfall;

Description of the exposed materials located in the drainage area of each outfall that are likely to be significant contributors of pollutants to storm water discharges;

An estimate of the runoff coefficient of the drainage areas (low = under 40%; medium = 40 to 65%; high = above 65%); and

Why the outfalls are expected to discharge substantially identical effluents.

For each type of monitoring, your SWPPP must include a description of:

1. **Sample Location(s).**  Describe where samples will be collected, including any determination that two or more outfalls are substantially identical. INSERT TEXT HERE
2. **Pollutant Parameters to be Sampled**. Include a list of the pollutant parameters that will be sampled and the frequency of sampling for each parameter. INSERT TEXT HERE
3. **Monitoring Schedules.** Include the schedule you will follow for monitoring your storm water discharge, including where applicable any alternate monitoring periods to be used for facilities in climates with irregular storm water runoff (2020 MSGP, Part 7.1.6). INSERT TEXT HERE
4. **Numeric Limitations**. List here any pollutant parameters subject to numeric limits (effluent limitations guidelines), and which outfalls are subject to such limits. Note that numeric limits are only included for Sectors A, C, D, E, J, K, L, and O. INSERT TEXT HERE
5. **Procedures**. Describe procedures you will follow for collecting samples, including responsible staff who will be involved, logistics for taking and handling samples, laboratory to be used, etc. INSERT TEXT HERE

Note: It may be helpful to create a table with columns corresponding to # 1 - 5 above for each type of monitoring you are required to conduct.

**Inactive and Unstaffed sites exception** (if applicable)

If you are invoking the exception for inactive and unstaffed sites for benchmark monitoring, include information to support this claim.

INSERT TEXT HERE

**Substantially identical outfall exception** (if applicable)

If you plan to use the substantially identical outfall exception for your benchmark monitoring and/or quarterly visual assessment requirements, include the following information here to substantiate your claim that these outfalls are substantially identical:

* Location of each of the substantially identical outfalls: INSERT TEXT HERE
* Description of the general industrial activities conducted in the drainage area of each outfall: INSERT TEXT HERE
* Description of the control measures implemented in the drainage area of each outfall: INSERT TEXT HERE
* Description of the exposed materials located in the drainage area of each outfall that are likely to be significant contributors of pollutants to storm water discharges: INSERT TEXT HERE
* An estimate of the runoff coefficient of the drainage areas (low=under 40%; medium=40 to 65%; high =above 65%): INSERT TEXT HERE
* Why the outfalls are expected to discharge substantially identical effluents: INSERT TEXT HERE

# SECTION 5: Inspections

Instructions:

* Describe your procedures for performing the three types of inspections required by the 2020 MSGP, including:
	+ Routine facility inspections (2020 MSGP, Part 6.1);
	+ Quarterly visual assessment of storm water discharges (2020 MSGP, Part 6.2); and
	+ Comprehensive site inspections (2020 MSGP, Part 6.3).
		- * + If you are invoking the exception for inactive and unstaffed sites relating to routine facility inspections and quarterly visual assessments, you must include in your SWPPP the information to support this claim as required by 2020 MSGP, Parts 6.1.3 and 6.2.3.

A sample routine facility inspection and quarterly visual assessment form is available on DEC’s MSGP website <http://dec.alaska.gov/water/wastewater/stormwater/multisector/> under heading “Additional MSGP Documentation Template”. Appendix F of the 2020 MSGP includes a comprehensive site inspection form (Annual Reporting Form).

For the routine facility inspections and the comprehensive site inspections to be performed at your site, include a description of the following:

* + - * The names of the person(s), or the positions of the person(s), responsible for inspection: INSERT TEXT HERE
			* The schedules to be used for conducting inspections. Include here any tentative schedule that will be used for facilities in climates with irregular storm water runoff discharges (2020 MSGP, Part 6.2.3): INSERT TEXT HERE and
			* Specific areas of the facility to be inspected, including schedules for specific outfalls: INSERT TEXT HERE

 For the quarterly visual assessments to be performed at your site, include a description of the following:

* + - * The names of the person(s), or the positions of the person(s), responsible for inspection: INSERT TEXT HERE
			* The schedules to be used for conducting inspections. Include here any tentative schedule that will be used for facilities in climates with irregular storm water runoff discharges (2020 MSGP, Part 6.2.3): INSERT TEXT HERE and
			* Specific areas of the facility to be inspected, including schedules for specific outfalls: INSERT TEXT HERE

**Inactive and Unstaffed sites exception** (if applicable)

If you are invoking the exception for inactive and unstaffed sites for your routine facility inspections and quarterly visual assessments, include information to support this claim.

INSERT TEXT HERE

# SECTION 6: SWPPP CERTIFICATION

Instructions (see 2020 MSGP Part 5.2.7):

The following certification statement must be signed and dated by a person who meets the requirements of Appendix A, Subsection 1.12, of the 2020 MSGP. Note: This certification must be re-signed in the event of a SWPPP modification in response to a Part 8.1 trigger for corrective action.

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

|  |  |  |  |
| --- | --- | --- | --- |
| Name: |  |  Title: |  |
| Signature: |  |  Date: |  |

# SECTION 7: SWPPP MODIFICATIONS

Instructions (see 2020 MSGP Part 5.6):

* Your SWPPP is a “living” document and is required to be modified and updated, as necessary, in response to corrective actions. See Part 8.4 of the 2020 MSGP.
	+ If you need to modify the SWPPP in response to a corrective action required by Part 8.1 of the 2020 MSGP, then the certification statement in section 7 of this SWPPP template must be re-signed in accordance with 2020 MSGP Appendix A, Subsection 1.12.
	+ For any other SWPPP modification, you should keep a log with a description of the modification, the name of the person making it, and the date and signature of that person. See 2020 MSGP Appendix A, Subsection 1.12.

INSERT LOG HERE or REFERENCE ATTACHMENT

# SWPPP ATTACHMENTS

Attach the following documentation to the SWPPP:

***Attachment A – General Location Map***

Include a copy of your general location map in Attachment A.

***Attachment B – Site Map***

 Include a copy of your site map(s) in Attachment B.

***Attachment C – 2020 MSGP***

Note: It is helpful to keep a printed-out copy of the 2020 MSGP so that it is accessible to you for easy reference. However, you do not need to formally incorporate the entire 2020 MSGP into your SWPPP. As an alternative, you can include a reference to the permit and where it is kept at the site.

***Attachment D – Additional MSGP Documentation***

 Include a copy of additional documentation, as required.