Pellet-Fired Hydronic Heaters Meeting Emission Standards for

the Fairbanks North Star Borough PM2.5 Nonattainment Area

These standards only apply to NEW heating devices being sold or installed in the FNSB PM2.5 Nonattainment Area beginning January 8, 2020.  Only NEW pellet-fired hydronic heaters that appear on this list and meet the emission standards may be sold or installed inside the nonattainment area beginning January 8, 2020.

If a pellet-fired hydronic heater <350,000 Btu/hr meets the emission standards in 18 AAC 50.077 but does not appear on this list, contact DEC staff for guidance. In addition, if it appears a device has been listed incorrectly, contact Steven Hoke by phone (907) 451-5172 or by email steven.hoke@alaska.gov.

DEC develops these lists by downloading from EPA all the devices that have EPA certification and applying the standards found in 18 AAC 50.077.

| DEC Standards (INSIDE FNSB PM2.5 NONATTAINMENT AREA ONLY) – 18 AAC 50.077 |  |  |
| --- | --- | --- |
| Wood-Fired Heating Device Type | Particulate Matter Emission Standard | Effective Date |
| ONLY Pellet Hydronic Heaters <350,000 Btu/hr | EPA certified AND 0.10 lbs. per million Btu of heat output for each individual burn rate. (DEC listed) | 01/08/2020 |

More information and a map of the FNSB PM2.5 Nonattainment Area is available online

Summary of Changes:

| Change Type | Manufacturer | Models | Reason for Change |
| --- | --- | --- | --- |

As of September 1, 2020, all devices not meeting ADEC regulatory requirements have been removed from the Approved Device List to meet 18 AAC 50.077(c)(3)(ii).  This requirement states that no valid test run measurement, from the device’s certification report, may exceed 6.0 grams per hour. Device reports that exceed this number, have not reported a value, have reported the value in incorrect units, or where the certification report cannot be found, have been removed from the list.

| Approved Device List |  |  |  |
| --- | --- | --- | --- |
| Manufacturer Name | Model Name | Annual Avg Emission Level (lbs/million BTU) | Max Heat Output Rating (BTU/hr) |
| Maine Energy Systems, LLC | Pellematic 20 | 0.02 | 68300 |
| Maine Energy Systems, LLC | Pellematic 32 | 0.02 | 109000 |
| Maine Energy Systems, LLC | Pellematic 56 | 0.05 | 191000 |

Staff Contact:

Steven Hoke

Steven.Hoke@alaska.gov

907-451-5172