## Jan 2026 ETT List
January 2026 ETT List
Note: Column titled "Est. New ETT Score" is the estimated new score based on the violations that have Returned to Compliance (RTCd) during the Quarter. Please note that this score will likely change on the next quarter's list due to further violations being generated. Comments submitted by Drinking Water Program staff on February 10, 2026.
Staff | RMW | Est. New ETT Score | System Information | 10 Point |  |  |  | 5 Point | [7 empty] | 1 Point | [11 empty] | General Comments | How to Return to Compliance | Known Hardware Problems
|  |  |  | RTCR | SW | GWR | Nitrate | RTCR | SW | GWR | Nitrate | Arsenic | DBP | LCR | Rads | RTCR | SW | GWR | Arsenic | DBP | LCR | IOC | VOC | SOC | Rads | CCR | PN
BARNES | No RMW | 14 | AC ALASKA COMMERCIAL STORE / AK2270427 (475 / NTNC) | [7 empty] | 1 | [7 empty] | 4 | 1 |  |  |  | 3 |  |  |  | System has not sampled for Nitrate (since 2023), Arsenic (since 2024), or DBP2 (since 2023). Also has not submitted an SOC waiver or SOC samples. | System needs to collect Nitrate, Arsenic, VOC, SOC (or submit waiver), and DBP2 sample. | None known
NAKANISHI | YKHC | 43 | ALAKANUK WATER SYSTEM / AK2270362 (570 / C) | [9 empty] | 1 | [6 empty] | 33 | [7 empty] | Monthly TOC/alkalinity not sampled since 2021. Quarterly DBP's last sampled in 2024. | Collect monthly TOC/Alkalinity samples from intake and treatment plant. Collect quarterly DBP samples. | None known
SHARP | TCC | 13 | ALLAKAKET PUBLIC WATER SYSTEM / AK2300816 (135 / C) | [17 empty] | 2 |  |  | 7 |  | 1 |  | System did not submit 2024 CCR certification or 2023/2024 lead consumer notification certification. Also has not completed the 2023-2025 SOC waiver, nor sampled for SOCs. | System must complete past due CCR and lead consumer notification steps and complete the SOC waiver application. | None known
HOYT | No RMW | 21 | ALPINE INN / AK2244808 (30 / NC) |  |  |  |  | 2 | [7 empty] | 5 | [10 empty] | 1 | System has not completed seasonal start-up procedures or certification for 2024 and 2025 season. Open total coliform and nitrate monitoring violations. | PWS can return to compliance by submitting SSUP and certification for 2026 season and collecting a nitrate and total coliform sample. | None known
LATIMER | DEC | 11 | ANGOON PUBLIC WATER / AK2130017 (450 / C) | [16 empty] | 7 | 1 | [5 empty] | 1 | System is still on BWN. Recent monthly operator reports still lack sufficient chlorine residual reporting. Results have not yet received for samples collected in October 2025. Progress overall has been good & monthly sampling was completed for Aug./Sept./Oct. 2025. PWS is in process of completing LSLI with assist of DEC staff. | Sample TCR Monthly & TTHM/HAA5 quarterly, & report entry point chlorine residual for each day. Finish final LSLI steps. | One storage tank remains out of commission. Pressure filters may need media added or replaced.
AGUE | No RMW | 11 | BRISTOL BAY LODGE / AK2261630 (46 / NC) | 1 | [23 empty] | Seasonal system had an E.coli+ source and repeat sample following a routine TC+ sample in September 2025. System ceased operations for the year on 9/12/25 and was not able to complete Level 2 Assessment corrective actions or collect satisfactory samples before closing. | Collect 5 source confirmation samples and 3 distribution samples that are all total coliform and E.coli negative. | None known
SHARP | NSHC | 118 | DIOMEDE JOINT UTILITIES / AK2340141 (83 / C) |  |  |  | 2 |  |  |  |  | 10 |  |  |  |  | 43 |  |  |  | 1 | [6 empty] | Diomede continues to exceed the RAA MCL for Arsenic and Nitrate. System has continued to accrue monthly operator report violations since August 2023 for failure to submit complete operator reports primarily due to lack of a consistent full time operator. System has not completed lead consumer notification for the 2024 lead/copper sample set. | System needs to begin using the new WTP in 2026. New plant should address Nitrate and Arsenic MCL exceedances. System needs to send in complete monthly operator reports and complete overdue lead consumer notice process. | A new WTP was constructed to meet SWTR, Nitrate and Arsenic MCLs, and corrosion control. A temporary WTP operated during 2025 pumping seasons, but it did not treat for arsenic or nitrate and did not operate within designated design parameters to meet SWTR. Permanent WTP granted operational approval in August 2025, but no source water was available to use new WTP to fill WST for winter. Current water in WST was treated with the temp plant. New WTP expected to start operating summer 2026.
MORRISON | No RMW | 31 | FOREST PARK TC / AK2210794 (175 / C) | [6 empty] | 2 |  |  |  | 1 | [6 empty] | 2 |  | 5 | 3 |  |  | 1 | System has open violations for not correcting significant deficiencies from the 2016 and 2019 sanitary surveys. Did not submit Lead Service Line Inventory. Overdue for lead/copper, and VOC (last sample 2Q 2024). Did not submit a 2023-2025 SOC waiver renewal or sample for SOC in 2025. Did not submit a PN certification for BWN in April 2025. | System must submit engineering plans to correct deficiencies. Sample for lead and copper and VOC. Submit LSLI. Submit 2023-2025 SOC waiver renewal. Submit overdue April 2025 PN for BWN. | System has ongoing issues with maintaining adequate distribution system pressure.
POEPPEL | YKHC | 30 | GRAYLING WATER SYSTEM / AK2280066 (207 / C) |  |  |  |  | 1 | [8 empty] | 22 |  |  | 1 | [7 empty] | System is behind on LT2 sampling. New water storage tank design has started. System on long-term BWN until the PWS submits monthly operator reports and consistently samples. | Address the remaining sanitary defects. Submit monthly operator reports that meet operating requirements. Take LT2 samples according to LT2 sample plan. Take DBP samples in the correct months. | Storage tank is aged and too small to meet community needs.
SHARP | TCC | 23 | HUGHES PUBLIC WATER SUPPLY / AK2300272 (107 / C) | [13 empty] | 18 |  |  | 1 | 2 | [6 empty] | System has not completed lead consumer notification for the 2023 or 2024 sample sets, has not completed annual DBP sampling since 2023, and has not submitted a complete MOR since October 2024, primarily due to operator turn over. | System must submit a complete monthly operator report, complete outstanding lead consumer notice process, and collect DBP samples during 2026. | None known
HOYT | DEC | 13 | HYDABURG / AK2120224 (415 / C) | [9 empty] | 1 | [6 empty] | 2 | 4 | [6 empty] | System collected 7 out of 10 lead and copper samples in second half of 2025. Operator relayed they submitted remaining three samples in December to lab, but an there was an issue with preservation which required sample rejection. | Complete Lead/Copper and DBP sampling requirements. | None known
HOYT | DEC | 31 | KAKE MUNICIPAL WATER / AK2130083 (415 / C) | [9 empty] | 6 | [14 empty] | System is trying to perform operational changes to lower DBP values. Operator is working with RMW to find a solution for exceedances. Treatment plant upgrades may be needed. System received DBP Monitoring violation in December 2025 (Q4). Samples were unable to arrive to the laboratory due to extreme winter weather conditions. Next samples due March 2026. | Continue to collect DBP samples that allow for the LRAA to fall below the MCL. | None known
CAHILL | No RMW | 32 | KING FOR A DAY / AK2299036 (53 / NC) |  |  |  |  | 3 |  |  | 1 |  |  |  |  | 10 | [11 empty] | System did not complete seasonal start-up in 2023 - 2025 seasons. Last TC and Nitrate sample results from 10/01/2023. | System can return to compliance by taking annual Nitrate and monthly Total Coliform. System will need to complete and return 2026 season SSUP. Sanitary Survey due in 2026. | None known
HOYT | DEC | 99 | KLAWOCK / AK2120169 (904 / C) | [9 empty] | 19 | [14 empty] | Operator adjusted chlorine levels down in month of October, which can be observed in the monthly operator reports. Individual DBP results from December 2025 were below MCL (RAA is still above). | Continue to collect DBP samples that allow for the LRAA to fall below the MCL. | None known
SHARP | No RMW | 99 | KOTZEBUE MUN. WATER SYSTEM / AK2340060 (3234 / C) | [9 empty] | 19 | [14 empty] | System has exceeded the TTHM MCL since 2019 and the HAA5 LRAA since 3rd quarter 2023. | System needs to optimize their treatment system to increase DBP precursor removal and reduce DBP levels. | A new Ultrafiltration-Nanofiltration membrane treatment system designed to address DBP issues began operation in 2022. Monitoring of new WTP will continue throughout the interim operation period (extended to June 1, 2026). DBP precursor removal data is to be analyzed by the design engineering firm to determine what treatment is needed to improve DBP results. Long term fixes for oxidation tank are to be constructed this winter. An NF membrane pilot test to determine DBP precursor removal efficiency was completed; results of pilot study not yet provided to DEC.
AGUE | YKHC | 42 | KWETHLUK NEW PIPED WATER SYSTEM / AK2272017 (760 / C) | [9 empty] | 7 | [6 empty] | 6 | [7 empty] | System has not met required TOC removal ratio since 1st quarter 2024, and last collected monthly TOC/alkalinity samples in May 2025. Quarterly DBP sample last collected in the 2nd quarter of 2025. | Collect TOC/alkalinity and DBP samples. | None known
BARNES | BBAHC | 13 | MANOKOTAK WATER SYSTEM / AK2260090 (293 / C) | [17 empty] | 2 |  | 1 | 7 |  |  |  | System has not collected Lead/Copper (since 2024), VOC (since 2013) and has not submitted SOC waiver or sampled quarterly for SOC. | System needs to submit VOC and Lead and Copper sample set. System needs to submit 2026-2028 SOC waiver and sample quarterly for SOC's. | None known
AGUE | YKHC | 12 | MOUNTAIN VILLAGE WATER SYSTEM / AK2270150 (850 / C) | [6 empty] | 1 | [9 empty] | 2 | 1 | 1 | [5 empty] | System has overdue significant deficiencies from their 2022 sanitary survey. Overdue for lead and copper samples (last 2021), DBP (last 2022) and a complete set of inorganics samples from one entry point (last 2019). | Correct significant deficiencies and collect overdue DBP, lead and copper, and inorganics samples. | System is on long-term BWN; lower loop of distribution system does not maintain pressure above 20 PSI. Open significant deficiencies from 2022 survey include: improperly abandoned well within 200' of an active well, issues with the caps or seals on 2 active wells, no backflow prevention on the water haul point, and a hose that is not NSF-certified at the water haul point.
HOYT | DEC | 55 | NANWALEK / AK2240464 (281 / C) | [12 empty] | 16 | 23 |  |  | 14 | [6 empty] | 1 | System has been on BWN since February 2025. A new operator contacted EPS on 11/21/2025 and a list of outstanding sampling and tasks have been provided to the system. Operator provided a partial monthly turbidity report for the month of November. A local lab has contacted the EPS to assist the system in returning to compliance. | Complete all routine sampling and submit completed monthly operator reports on time. Meet operator certification requirements. | None known
NAKANISHI | No RMW | 13 | PETERS CREEK TERRACE / AK2211473 (70 / C) | [10 empty] | 1 | [6 empty] | 3 | [6 empty] | Lead service line inventory not completed in 2024, Lead and Cooper samples last taken in 2017. System is overdue for 2020 and 2023 sampling requirements. | System should complete Lead Service line inventory and sample for lead and copper. | None known
BARNES | YKHC | 14 | PLATINUM CITY WATER SYSTEM / AK2271059 (51 / C) | [5 empty] | 1 | [11 empty] | 1 |  | 3 |  |  |  |  | System does not meet applicable water treatment and filtration requirements. System has not collected VOC sample since 2012 and Lead and Copper sample since 2024. | System needs to submit VOC and Lead and Copper sample set. | System does not filter.
KEIM | TCC | 18 | RUBY WATER SYSTEM / AK2360866 (215 / C) | [16 empty] | 17 | [7 empty] | PWS hasn't submitted a distribution chlorine sample since December 2023. | PWS must begin to collect a distribution chlorine sample at the same time and place as monthly TCR sample. | None known
POEPPEL | DEC | 14 | SAINT GEORGE WATER SYSTEM / AK2260074 (65 / C) | [6 empty] | 1 | [10 empty] | 4 | [6 empty] | Overdue for Lead/Copper samples - last sampled in 2013. System has open significant deficiencies from 2021. | Sample for lead and copper. Address the outstanding corrective actions from the 2021 sanitary survey. | None known
LATIMER | No RMW | 18 | SALTRY / AK2243161 (75 / NC) |  | 1 |  |  | 1 | [7 empty] | 3 | [11 empty] | Seasonal PWS, summers only. Determined system attempted to send a startup form by text, yet attachment was not received. Nitrate sample collected, but was rejected by lab due to being beyond hold time & no replacement collected before the season end. | Submit Startup form on time, and report filtered water instead of raw turbidity, and collect monthly coliform. | None known
DAVIS | YKHC | 15 | SCAMMON BAY WATER SYSTEM / AK2270184 (637 / C) | [13 empty] | 14 | [10 empty] | System currently not monitoring & reporting daily turbidity. | Meet turbidity monitoring and reporting requirements. | System is awaiting parts and assistance to repair the turbidimeter and adjust calibration.
KEIM | Maniilaq | 35 | SELAWIK SAFEWATER FACILITY / AK2340379 (846 / C) |  | 2 | [7 empty] | 1 |  |  |  | 2 |  |  | 5 | 1 | [5 empty] | 1 | Selawik has had chlorine levels below 0.2 mg/L on monthly operator reports since June 2025, and has not submitted enough monthly readings since July 2025. Overdue for quarterly DBPs (last July 2024), exceeded the TTHM LRAA MCL for 2nd quarter 2025 (based on the 2024 results), and has not completed public notice for that MCL exceedance. PWS has also not completed the TTHM OEL report triggered 3rd quarter 2024. PWS has not sampled for lead/copper since 2023. | System must begin collecting an adequate number of entry point chlorine readings each month, keep their chlorine above 0.2 mg/L consistently, and submit complete monthly operator reports, including CFE information. System must sample for past due Lead and Copper and DBPs in 2026. They must also complete TTHM MCL public notification and outstanding OEL report. | WTP does not have final approval to operate. Latest sanitary survey indicates instrumentation that controls chemical dosing are not working and chemical pumps are in need of upgrading. MIOX disinfectant generator is not working and the dedicated CT contactor is not being used as intended. The WTP would benefit from an engineer's evaluation of the treatment process to determine its needs and to find funding to make repairs and upgrades.
WEYDAHL | No RMW | 47 | SET FREE ALASKA SNODGRASS / AK2220483 (47 / NTNC) | [8 empty] | 9 | [15 empty] | Working with engineering. Plans for treatment were submitted 5/22/24, but haven't responded yet to request for information. | Install a form of treatment to lower levels below the MCL. | None known
CAHILL | No RMW | 23 | SHEENA MAY ESTATES / AK2224337 (74 / C) | [8 empty] | 4 | [15 empty] | System blends two sources to help mitigate high Arsenic. Arsenic samples collected in 2025 still exceed MCL . | PWS can return to compliance by testing below the Arsenic MCL. | Board of Directors is exploring installation of Arsenic treatment. System is installing temporary chlorination to mitigate TC+ until issue can be found. Granted Interim Approval to Operate 01/27/2026.
NAKANISHI | No RMW | 22 | SNOWCREST VIEW SOUTH / AK2210891 (25 / C) | [10 empty] | 1 |  | 4 |  |  |  |  | 6 |  |  | 3 |  | 2 |  | CCR overdue from 2024, SOC waiver needed for 2023-2025. Lead service line inventory not completed in 2024. Lead consumer notification overdue from 2023 and 2024. Total coliform samples last taken in May of 2025. | Complete CCR, SOC waiver application, 2 Lead Consumer Notifications, and Lead Service line inventory. Sample for total coliform. | None known
NAKANISHI | YKHC | 23 | ST. MARYS WATER SYSTEM / AK2270176 (548 / C) | [13 empty] | 17 |  |  |  | 4 | [6 empty] | Insufficient turbidity readings taken since March 2024. Last Lead and Copper samples taken 12/2023. | Take 20 Lead and Copper samples every six months. Take turbidity readings every 4 hours while making water. | SCADA equipment is non-functional. WTP upgrade project and replacement of SCADA equipment is in PER stage. Project planning site visit was performed 7/2025. Distribution lines to be replaced in summer 2026.
HARRIS | No RMW | 13 | STERLING MOOSE RIVER MANOR / AK2249099 (33 / C) | [6 empty] | 1 |  |  |  | 1 | [6 empty] | 1 |  |  |  |  | 1 |  | Overdue on Lead Service Line Inventory (LSLI), and correcting significant deficiency identified in a sanitary survey. | Complete and submit the LSLI to DEC for approval. Address open CASS schedule items identified in the 2023 sanitary survey. | None known
SHARP | TCC | 15 | TANACROSS WATER SYSTEM / AK2380531 (108 / C) | [6 empty] | 1 | 1 | [9 empty] | 1 |  |  |  |  | 1 | 1 | System has not collected a nitrate sample since 2023 and has not completed public notice for missed 2024 nitrate. Has not submitted 2023 CCR certification or completed the 2025 lead consumer notification process. Has outstanding survey deficiencies from the 2024 sanitary survey. | System needs to collect a nitrate sample ASAP, submit past due CCR certification form, complete lead consumer notification, and correct outstanding sanitary survey deficiencies. | None known
SHARP | No RMW | 21 | VALLEY WATER COMPANY / AK2310926 (1575 / C) | [6 empty] | 1 |  |  |  | 2 | [6 empty] | 1 | [6 empty] | Violation for lack of corrosion control was issued in 2006 and PWS still does not have corrosion control. PWS hasn't completed and submitted initial LSLI, due 10/16/2024. System has an overdue sanitary survey deficiency from the 2024 sanitary survey. | System must install corrosion control to address high copper levels, submit initial LSLI, and correct outstanding sanitary survey deficiency. | The PWS is working through funding process to implement some of the corrective actions in the Master Plan, including ones related to copper exceedance. No information yet on project award or design start date.
SHARP | NSHC | 24 | WALES WATER SYSTEM / AK2340191 (173 / C) | [11 empty] | 4 | [12 empty] | PWS exceeds Uranium RAA MCL. System changed sources to a SW source in fall 2024, but had to resort to old source after new source quantity issues. | New SW source and WTP should reduce Uranium levels once fully brought online; however, repairs must be made to the new SW source intake in order for it to produce enough water to meet system demand. | New surface water source with lower uranium and a cartridge filtration WTP were constructed and placed into operation briefly in 2024 but the new source was not producing enough water, so they have reverted to using the old groundwater wells and have been bypassing the new WTP since that time. Unsuccessful attempts to improve the new source were made in 2025. Additional attempts to fix the source will be made in summer 2026.
LATIMER | No RMW | 13 | WHALERS COVE LODGE / AK2133333 (65 / NC) | [13 empty] | 8 | [10 empty] | Seasonal PWS, summers only - new owners/operators for 2025. No monthly reports received. | Submit complete monthly operator reports on time. | None known
WHITEAKER | No RMW | 13 | WHITE BIRCH APARTMENTS / AK2313233 (72 / C) | [10 empty] | 1 | [6 empty] | 3 | [6 empty] | System only collected 4 of 5 Lead & Copper samples in 2024 and has not completed their initial lead service line inventory. | System must submit a complete set of Lead and Copper samples and complete their lead service line inventory. | None known
KEIM | No RMW | 13 | WILDWOOD HOMES LLC / AK2310853 (114 / C) | [6 empty] | 1 |  |  |  | 1 | [6 empty] | 1 | [6 empty] | System hasn't completed corrective actions from 2023 sanitary survey: modifications were made to the water system without prior approval from DEC and there is a separation distance issue between the well and wastewater lines. PWS hasn't completed and submitted initial Lead Service Line Inventory (LSLI), due 10/16/2024. | PWS must continue to work with DWP engineering to complete sanitary survey corrective actions by submitting a complete waiver and other necessary information related to the modifications. PWS must complete and submit initial LSLI. | Comments were provided on a project to replace all water mains in the distribution, remove all private sewer lines, and remove all but one of the community sewer lines within the source well’s protective radius. A separation distance waiver was submitted and reviewed as part of the project (sanitary survey deficiency), but the project has been incomplete since June 2023. They will also need approval from the Wastewater Program for the project; no wastewater approval request has been received.

## Definitions+Contact List
DW Program Staff Contact Information
Mat-Su = Office located in Wasilla, AK. Covers the Mat-Su area. Staff: Jamie Bjorkman (Program Coordinator) 262‐3423, Jessica Cahill (EPS) 376-1824, Krista Weydahl (EPS) 376-1849, Charity Bare (Engineering Supervisor) 262-3400
Northern = Office located in Fairbanks, AK. Covers the Northern Alaska PWSs. Staff: Teslyn Hakala (Program Coordinator) 451-3038, Michael Sharp (EPS) 451-2178, Jenny Roberts (EPS) 451‐2137, Gretchen Keim (EPS) 451-2231, Johnny Mendez (Engineering Supervisor) 451-5193.
Southcentral / ANC= Office located in Anchorage, AK. Covers Anchorage bowl, Prudhoe Bay, Bethel/YK Delta, Dillingham area, Aleutian Chain, Pribilof and Kodiak Island area PWSs. Staff: Leslie Morrison (Program Coordinator) 269-7619, Elizabeth Nakanishi (EPS) 269‐7517, Kristine Poeppel (EPS) 269‐7521, Monica Ague (EPS) 269-7653, John Davis (EPS) 262-8201, Karis Barnes (EPS) 262-8204, Chris Pletnikoff (Engineering Supervisor) 269‐6064.
Kenai / Southeast = Office located in Soldotna, AK. Covers the Kenai Peninsula and Southeast area. Staff: Jamie Bjorkman (Program Coordinator) 262‐3423, James Latimer (EPS) 262-3410, Christina Harris (EPS) 262-3420, Emily Hoyt (EPS) 465-5108, Charity Bare (Engineering Supervisor) 262-3400
GENERAL ETT QUESTIONS: Jeanine Vance (EPM) 269-2007, Karen Garland (EPS) 269-7576, Eric Burg (EPS) 262-3401
Link to DW Program Directory (contact information) | http://dec.alaska.gov/eh/dw/contact/
Resource Links
Alaska Community Database Online
The Community Database Online is a portal for information resources about Alaskan Communities and Places of Interest in an interactive format.
Link to Database Online Webpage | https://dcra-cdo-dcced.opendata.arcgis.com/
Alaska Community Photo Library
The Community Photo Library offers a glimpse into Alaska's communities and lifestyle by providing images of places, people, cultural events, public facilities, landscapes, and other dimensions of community life.
Link to Photo Library Webpage | https://www.commerce.alaska.gov/dcra/admin/Photo
Remote Maintenance Worker (RMW) Service Area Abbreviations
BBAHC= Bristol Bay area Health Corporation | Maniilaq= Maniilaq Health Corporation | TCC= Tanana Chiefs Conference
DEC= AK Department of Environmental Conservation | NSHC= Norton Sound Health Corporation | YKHC= Yukon Kuskokwim Health Corporation
No‐RMW= Not served by an RMW Program
Link to RMW Directory | https://dec.alaska.gov/media/p4dntxhf/rmw-directory.pdf
Definitions
AL= Action Level | IFE= Individual Filter Effluent | RMW= Remote Maintenance Worker
ANTHC= Alaska Native Tribal Health Consortium | IOC= Inorganic Chemicals | RTC= Return to compliance (fall off ETT list)
BACTI or t‐Coli = Total Coliform Sample | LCR= Lead/Copper Rule | RTCR= Revised Total Coliform Rule
BWN= Boil Water Notice | LRAA= Locational Running Annual Average (Stage 2) | SOC= Synthetic Organic Chemicals
CCR= Consumer Confidence Report | LT1= Long Term 1 Enhanced Surface Water Treatment Rule | Surface Water (SW)= Surface Water violations Surface Water Treatment Rules (SWTR, LT1, and LT2)
CFE= Combined Filter Effluent | LT2= Long Term 2 Enhanced Surface Water Treatment Rule
DPB= Disinfection by Products | M/R= Monitoring and Reporting (type of violation) | SSUP = Seasonal Startup Procedures
DSRD= Distribution Chlorine Residual | MCL= Maximum Contaminant Level (type of violation) | TC= Total Coliform (also called Bacti)
EHO= Environmental Health Officer | MOR= Monthly operator report | TOC= Total Organic Carbon
EP= Entry Point | NOV= Notice of Violation | TCR= Total Coliform Rule
EPA= Environmental Protection Agency | OCC= Optimal corrosion control (Lead/Copper Rule) | TT= Treatment Technique (violation)
EPRD= Entry Point Residual Distribution | PE= Public Education (requirement under Lead/Copper Rule) | TTHM= Total Trihalomethanes (Stage 1 Rule)
ETT= Enforcement Targeting Tool | PER= Preliminary Engineering Report | VOC= Volatile Organic Chemicals
FANLs= Facility Analyte Level (refers to SW/DBP monitoring requirements) | PN= Public Notice | VSW= Village Safe Water
GAC= Granular Activated Carbon | PWS= Public Water System | WTP= Water Treatment Plant
GWUDI= Groundwater under the direct influence of surface water | RAA= Running Annual Average
HAA5= Haloacetic Acids (Stage 1 Rule) | Rads= Radionuclides Rule