## Outfalls
Notes | [9 empty] | Submit supporting documents, such as NOAA tidal current predictions, or actual current speed measurements used for the determination of average current speed, with the NOI. NOAA tidal current predictions for many Alaska locations can be found at http://tidesandcurrents.noaa.gov/curr_pred.html. | Permittees should identify all commodity lines they may process during the year. Describe the types and amounts of other wastewaters (retort water, boiler blowdown, commingled industrial storm water, catch transfer water, refrigerated sea water, etc.). |  | See Attachment A, Section VI & VIII
Facility Name | Name of waterbody discharged to | Outfall Name or # | Datum used to provide coordinates (NAD 1983 or WGS 1984) | Outfall Terminus Latitude | Outfall Terminus Longitude | Length of outfall from shore (ft) | Depth of the receiving water (ft) (MLLW) | Depth of Outfall (ft) (MLLW) | Name(s) of Critical Habitat or TMDL listed waterbodies within 1.0 nm of outfall terminus | Average Current within 300 feet of Outfall | Commodity Line(s) or By-product lines Contributing Wastewaters to this Outfall | Estimated dates of discharge | Type of wastewater being discharged (For each separate outfall/discharge pipe identified, label type of discharge: Seafood WW, Other WW, commingled stormwater and seafood) | By-Products Produced Y/N | Types, numbers, and locations of screen(s) used to treat seafood processing waste or other effluent. | Screen Size per manufacturer specifications | List the estimated average monthly pounds of screened waste (carcasses) sent to By-product facility (lbs) | Maximum Daily (24-hr) Discharge Volume (mgd) | Projected Average Monthly Discharge Volume (gallons)
Kodiaks Best Seafood | Kodiak Harbor | 001 | NAD 1983 | 57.7859 | -152.4155 | 120.6 | 24 | 21 | Salmon migration, black-legged Kittiwake |  | Mechanical Salmon fillets, hand scraping salmon mince, Pollock fillets, pollock paste | Jan - Dec | screened seafood wastewater | N | 6 in sequence Rotary Screens | 1 mm X 20 mm | 200,000 lbs | 2300000 | 41400000
| Kodiak Harbor | 004A |  | 57.7863 | -152.4154 | 1 | 24 | +3 |  |  | refrigerated sea water (fish hold ww), commingled storm water | Jan - Dec | RSW, stormwater | N
| Kodiak Harbor | 004B |  | 57.7861 | -152.4161 | 1 | 24 | +3 |  |  | retort water, boiler blowdown | Jan - Dec | Heated discharge (Retort), Heated discharge (boiler) | N
| Kodiak Harbor | stormwater A |  | 57.7863 | -152.4154 | 1 | 24 | +3 |  |  | storm water only, no commingling | Jan - Dec | stormwater | N

## Commodity Line Info
Describe the types and amounts of other wastewaters (retort water, boiler blowdown, commingled industrial storm water, vessel catch transfer water, refrigerated sea water, etc.).
| Permittees should identify all commodity lines they may process during the year. |  |  | Permittees should identify all commodity lines they may process during the year.
Outfall Name or # | Commodity Line(s) Contributing Wastewaters to this Outfall | Estimated dates of discharge | Type of wastewater being discharged (For each separate outfall/discharge pipe identified, label type of discharge: Seafood WW, Other WW, commingled stormwater and seafood) | Species and estimated ave annual raw pounds coming into the facility | Type of finished product - Production capacity based upon historical operations and design capacity List of avearag yearly pounds of final seafood processing product and type (salmon butchering, bottom fish butchering, crab butchering, salmon mince/paste, bottom fish mince/paste, frozen fresh/cooked crab portions, etc.) | By-Products Produced Y/N | List types of by-products listed out by row
001 | Mechanical Salmon fillets | June 1 - Oct. 15 | screened seafood wastewater | 2,000,000 lbs salmon | 1,560,000 lbs salmon fillets | N
| hand scraping salmon mince | June 1 - Oct. 15 | screened seafood wastewater | 75,000 lbs scrapings from salmon carcasses | 50,000 lbs salmon mince | N
| Pollock fillets | Jan - Dec | screened seafood wastewater | 14,000,000 lbs pollock | 7,000,000 lbs pollock fillets | N
| Pollock paste | Jan - Dec | screened seafood wastewater | 31,000,000 lbs pollock | 10,230,000 lbs pollock paste | N
004A | refrigerated sea water (fish hold ww), commingled storm water | Jan - Dec
004B | retort water, boiler blowdown | Jan - Dec
stormwater A | storm water only, no commingling | Jan - Dec

## Outfall Pollutants
Notes
Per 18 AAC 83.310 and 18 AAC 83.330(f), for each outfall, report estimated amounts of the pollutants to be discharged. Data for each outfall should be in a separate set of cells. Add additional tables if necessary. Data for all pollutants listed in AKG528000, for all outfalls, must be submitted unless waived by the Department. This tab is only required for outfalls not previously permitted under AKG528000. For every pollutant you list, briefly describe the sources of discharge. If the outfall has not been tested for the parameter, do not enter "not believed to be present." Instead, perform monitoring on the discharge and provide copies of the lab results.
Outfall No. 1 |  |  |  | Source
Pollutant | Maximum Daily Value (include units) | Average Daily Value (include units) |  | (seafood processing ww, retort water, ammonia refrigerant, fish by-product)
Number of Samples Analyzed
BOD5
Oil & Grease
Total Suspended Solids
pH
Temperature
Total Ammonia
Total Residual Chlorine
Outfall No. 2 |  |  |  | Source
Pollutant | Maximum Daily Value (include units) | Average Daily Value (include units) | Number of Samples | (retort water, ammonia refrigerant, fish by-product)
Analyzed
BOD5
Oil & Grease
Total Suspended Solids
pH
Temperature
Total Ammonia
Total Residual Chlorine
(add more tables as needed to include all outfalls)

## Intake
Notes
| Provide the location of municipal or industrial (including self-identification) water intake structures within 1.0 nm of discharge outfall terminus(es). | Information regarding drinking water intake structures can be obtained from DEC's GIS website http://dec.alaska.gov/das/gis/apps or by contacting DEC's Drinking Water staff for your region.
Intake Name or # | Name of waterbody water is withdrawn from | Latitude | Longitude | Depth of Intake Structure | Maximum Daily Intake Volume (mgd) | Average Monthly Intake Volume (mgd)