18 AAC 72.511(b) is amended to read:

(b) A conventional onsite wastewater system that serves any combination of residential dwellings or commercial buildings owned by the same entity with a total facility-wide design flow of not more than 2,500 gallons per day may be installed without prior department approval if the system is installed by a person whose work is completed according to a registered engineer's design and the engineer **inspects** [supervises] construction. (Eff. 10/1/2023, Register 247; am \_\_\_\_/\_\_\_\_/\_\_\_\_\_\_, Register \_\_\_\_\_)

**Authority:** AS 44.46.020 AS 46.03.050 AS 46.03.110

AS 46.03.020

The introductory language of 18 AAC 72.550(a) is amended to read:

(a) **The person described in 18 AAC 72.511(a) - (c)** [A person who plans to install a system under 18 AAC 72.511] shall notify the department at least one day before beginning construction or modification of the system. The notification must **be on a form provided by the department and** include

**. . .**

The introductory language of 18 AAC 72.550(c) is amended to read:

(c) Not later than 90 days after completing the installation or modification of a conventional onsite wastewater system under 18 AAC 72.511, the person **described in** **18 AAC 72.511(a) - (c)** [responsible for construction of the system] shall register the system by submitting a completed documentation of construction, using a form provided by the department and including

**. . .**

(Eff. 10/1/2023, Register 247; am \_\_\_\_/\_\_\_\_/\_\_\_\_\_\_, Register \_\_\_\_\_)

**Authority:** AS 44.46.020 AS 46.03.020 AS 46.03.100

 AS 44.46.025 AS 46.03.050

The introductory language of 18 AAC 72.611(a)(5) is amended to read:

(5) **is one for which** the registered engineer, or a person under the responsible charge of the registered engineer, **inspects** [supervises] construction as necessary to

**. . .**

(Eff. 10/1/2023, Register 247; am \_\_\_\_/\_\_\_\_/\_\_\_\_\_\_, Register \_\_\_\_\_)

**Authority:** AS 44.46.020 AS 46.03.050 AS 46.03.100

 AS 46.03.020

18 AAC 72.650(a) is amended to read:

(a) A registered engineer **described in** [who plans to install a system under] 18 AAC 72.611(a) shall notify the department at least one day before beginning construction or modification of the alternative onsite wastewater system. The notification must **be on a form provided by the department and** include

(1) the legal description and physical address of the property where the installation or modification will occur, including directions to the site;

(2) the name and telephone number of the **registered** engineer responsible for the system **design, construction inspection,** [installation] and documentation; and

(3) the scheduled date of the installation or modification.

The introductory language of 18 AAC 72.650(c) is amended to read:

(c) Not later than 90 days after completing the installation or modification of an alternative wastewater system under 18 AAC 72.611(a), the registered engineer **described in 18** **AAC** **72.611(a)** [responsible for construction of the system] shall submit to the department a completed registration package that includes

**. . .**

(Eff. 10/1/2023, Register 247; am \_\_\_\_/\_\_\_\_/\_\_\_\_\_\_, Register \_\_\_\_\_)

**Authority:** AS 44.46.020 AS 46.03.020 AS 46.03.100

 AS 44.46.025 AS 46.03.050

The introductory language of 18 AAC 72.990(16) is amended to read:

(16) "construction **inspection** [supervision]" or "**inspects** [supervising] construction" means providing [oversight and] direction during construction such that the **registered** [supervising] engineer, or a person under the **registered** [supervising] engineer's responsible charge

**. . .**

18 AAC 72.990(78) is amended to read:

(78)  "sealed" means prepared by a registered engineer or a person under that engineer's **responsible charge** [direct supervision], and bearing the signature and seal of that engineer as required under AS 08.48.221 and 12 AAC 36.185;

18 AAC 72.990(100) is repealed:

(100) repealed \_\_\_\_/\_\_\_\_/\_\_\_\_\_\_;

(Eff. 4/1/99, Register 149; am 3/25/2001, Register 157; am 1/17/2002, Register 161; am 7/29/2006, Register 179; am 5/12/2016, Register 218; am 10/1/2023, Register 247; am \_\_\_\_/\_\_\_\_/\_\_\_\_\_\_, Register \_\_\_\_\_)

**Authority:** AS 44.46.020 AS 46.03.050 AS 46.03.110

 AS 46.03.020 AS 46.03.100 AS 46.03.710