## TOC
Disinfection Byproduct (DBP) Samples - XML upload Examples
For Detect and Non-Detect samples
This document includes examples of how sample data should be entered when reporting sample results using the Excel template. Each tab shows a different scenario and can be accessed by clicking on the tab at the bottom, or by clicking the link in the Table of Contents below.
Table of Contents
Example 1 - Non-Detect DBP - TTHM and HAA5
Example 2 - Detect DBP - TTHM and HAA5
Example 3 - TTHM Detect including Shipping Blank

## Example 1
Example 1 - Non-Detect DBP - TTHM and HAA5
This is an example of how to enter information for a Chemical or Radionuclide sample that is a Non-Detect.
Sample Information (* - Field required for record to exist) | [15 empty] | Results (* - Field required for record to exist) | [14 empty] | Field Results and Measurements (Optional) (* - Field required for record to exist)
Sample ID* | Sample Received Date f | WS ID* | Facility ID* | Sampling Point ID* | Sampling Location | Collection Date*f | Collection Time (24H) f | Sample Type*f | Sample Volume (ML) | Repeat Location | Original Sample ID + | Original Reporting Lab.ID | Original Collection Date | Comment | Sample Collector Name | Analyte*f [Code - Name] | Not Detected*f | Result f | Result UOM f | Standard Deviation (+/-) f | Reporting Limit f | Reporting Limit UOM f | Volume Assayed (ML) | Method f | Analysis Start Date f | Analysis Start Time f | Analysis Completed Date | Analysis Completed Time | Analyzing Lab ID | Comment | Parameter* [Code - Name] | Result* | UOM* | Method | Comment
1194326002 | 2025-12-10 | AK2263080 | DS001 | SPDS1DBP2-1 | Town Hall | 2025-12-09 | 11:57 | Routine | [6 empty] | EB | 2941 - Chloroform | Yes |  |  |  | 1 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-15 | 9:00 |  |  | AK00961
[16 empty] | 2942 - Bromoform | Yes |  |  |  | 0.5 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-15 | 9:00 |  |  | AK00961
[16 empty] | 2943 - Bromodichloromethane | Yes |  |  |  | 1 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-15 | 9:00 |  |  | AK00961
[16 empty] | 2944 - Dibromochloromethane | Yes |  |  |  | 1 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-15 | 9:00 |  |  | AK00961
[16 empty] | 2950 - TTHM | Yes |  |  |  | 2 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-15 | 9:00 |  |  | AK00961
810-175144-1 | 2025-12-10 | AK2263080 | DS001 | SPDS1DBP2-2 | Best Western | 2025-12-09 | 13:00 | Routine | [6 empty] | EB | 2454 - Dibromoacetic acid | Yes |  |  |  | 0.6 | ug/L |  | 552.2 - DBPS & CL2 SOLVENTS GC L/L ELECTRON CAPT | 2026-03-15 | 11:29 |  |  | AK00961
[16 empty] | 2451 - Dichloroacetic Acid | Yes |  |  |  | 0.6 | ug/L |  | 552.2 - DBPS & CL2 SOLVENTS GC L/L ELECTRON CAPT | 2026-03-15 | 11:29 |  |  | AK00961
[16 empty] | 2453 - Monobromoacetic acid | Yes |  |  |  | 0.7 | ug/L |  | 552.2 - DBPS & CL2 SOLVENTS GC L/L ELECTRON CAPT | 2026-03-15 | 11:29 |  |  | AK00961
[16 empty] | 2450 - Monochloroacetic acid | Yes |  |  |  | 1.1 | ug/L |  | 552.2 - DBPS & CL2 SOLVENTS GC L/L ELECTRON CAPT | 2026-03-15 | 11:29 |  |  | AK00961
[16 empty] | 2452 - Trichloroacetic Acid | Yes |  |  |  | 0.84 | ug/L |  | 552.2 - DBPS & CL2 SOLVENTS GC L/L ELECTRON CAPT | 2026-03-15 | 11:29 |  |  | AK00961
[16 empty] | 2456 - Total Haloacetic Acids (HAA5) | Yes |  |  |  | 1.1 | ug/L |  | 552.2 - DBPS & CL2 SOLVENTS GC L/L ELECTRON CAPT | 2026-03-15 | 11:29 |  |  | AK00961

## Example 2
Example 2 - Detect DBP - TTHM and HAA5
This is an example of how to enter information for a Chemical or Radionuclide sample that Detected a contaminant.
Detects are highlighted
Sample Information (* - Field required for record to exist) | [15 empty] | Results (* - Field required for record to exist) | [14 empty] | Field Results and Measurements (Optional) (* - Field required for record to exist)
Sample ID* | Sample Received Date f | WS ID* | Facility ID* | Sampling Point ID* | Sampling Location | Collection Date*f | Collection Time (24H) f | Sample Type*f | Sample Volume (ML) | Repeat Location | Original Sample ID + | Original Reporting Lab.ID | Original Collection Date | Comment | Sample Collector Name | Analyte*f [Code - Name] | Not Detected*f | Result f | Result UOM f | Standard Deviation (+/-) f | Reporting Limit f | Reporting Limit UOM f | Volume Assayed (ML) | Method f | Analysis Start Date f | Analysis Start Time f | Analysis Completed Date | Analysis Completed Time | Analyzing Lab ID | Comment | Parameter* [Code - Name] | Result* | UOM* | Method | Comment
810-175144-2 | 2026-03-19 | AK2123456 | DS001 | SPDS1DBP2-1 | TOWN TRANSFER | 2026-03-16 | 9:45 | Routine | [6 empty] | EB | 2943 - Bromodichloromethane | No | 7.5 | ug/L |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2942 - Bromoform | Yes |  |  |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2941 - Chloroform | No | 68 | ug/L |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2944 - Dibromochloromethane | No | 1.4 | ug/L |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2950 - TTHM | No | 76.9 | ug/L |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
DA73499-2 | 2026-03-20 | AK2123456 | DS001 | SPDS1DBP2-1 | TOWN TRANSFER | 2026-03-17 | 15:30 | Routine | [6 empty] | EB | 2454 - Dibromoacetic acid | Yes |  |  |  | 1 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-22 | 16:00 |  |  | AK00961
[16 empty] | 2451 - Dichloroacetic Acid | No | 3 | ug/L |  | 1 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-22 | 16:00 |  |  | AK00961
[16 empty] | 2453 - Monobromoacetic acid | Yes |  |  |  | 1 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-22 | 16:00 |  |  | AK00961
[16 empty] | 2450 - Monochloroacetic acid | Yes |  |  |  | 2 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-22 | 16:00 |  |  | AK00961
[16 empty] | 2452 - Trichloroacetic Acid | No | 2.5 | ug/L |  | 1 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-22 | 16:00 |  |  | AK00961
[16 empty] | 2456 - Total Haloacetic Acids (HAA5) | No | 5.5 | ug/L |  | 2 | ug/L |  | 524.2-VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-22 | 16:00 |  |  | AK00961

## Example 3
Example 3 - TTHM Detects and Shipping Blank
This is an example of how to enter information for a TTHM sample that includes a Detection. Since there was a detection, the Shipping blank is required to be reported.
Sample Information (* - Field required for record to exist) | [15 empty] | Results (* - Field required for record to exist) | [14 empty] | Field Results and Measurements (Optional) (* - Field required for record to exist)
Sample ID* | Sample Received Date f | WS ID* | Facility ID* | Sampling Point ID* | Sampling Location | Collection Date*f | Collection Time (24H) f | Sample Type*f | Sample Volume (ML) | Repeat Location | Original Sample ID + | Original Reporting Lab.ID | Original Collection Date | Comment | Sample Collector Name | Analyte*f [Code - Name] | Not Detected*f | Result f | Result UOM f | Standard Deviation (+/-) f | Reporting Limit f | Reporting Limit UOM f | Volume Assayed (ML) | Method f | Analysis Start Date f | Analysis Start Time f | Analysis Completed Date | Analysis Completed Time | Analyzing Lab ID | Comment | Parameter* [Code - Name] | Result* | UOM* | Method | Comment
810-175144-2 | 2026-03-19 | AK2123456 | DS001 | SPDS1DBP2-1 | TOWN TRANSFER | 2026-03-16 | 9:45 | Routine | [6 empty] | EB | 2943 - Bromodichloromethane | No | 7.5 | ug/L |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2942 - Bromoform | Yes |  |  |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2941 - Chloroform | No | 68 | ug/L |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2944 - Dibromochloromethane | No | 1.4 | ug/L |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2950 - TTHM | No | 76.9 | ug/L |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
810-175144-2-FB | 2026-03-19 | AK2123456 | DS001 | SPDS1DBP2-1 | Field Blank TTHM | 2026-03-16 | 9:45 | Shipping Blank | [6 empty] | EB | 2943 - Bromodichloromethane | Yes |  |  |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2942 - Bromoform | Yes |  |  |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2941 - Chloroform | Yes |  |  |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2944 - Dibromochloromethane | Yes |  |  |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961
[16 empty] | 2950 - TTHM | Yes |  |  |  | 0.5 | ug/L |  | 524.2 - VOC, GC/MS, P&T, CAPCOLUMN | 2026-03-20 | 14:56 |  |  | AK00961