ANC-GP SWPPP Template

**Introduction**

To help you develop a SWPPP that is consistent with the Ted Stevens Anchorage International Airport General Permit (ANC-GP), the Alaska Department of Environmental Conservation (DEC) has created this ANC-GP SWPPP Template (or, “the Template”). Use of the Template will help ensure that your SWPPP addresses all the necessary elements required in Part 5 of the ANC-GP.

Before completing the Template, make sure you read and understand the requirements in the ANC-GP. A copy of the ANC-GP is available at <https://dec.alaska.gov/water/wastewater/stormwater/permits-approvals/anc-gp>.

Completion of the ANC-GP SWPPP template will assist with filing the Notice of Intent (NOI) for ANC-GP permit coverage.

**Submitting your NOI**: (Note, submittal of the NOI is now accomplished using the online application system Environmental Data Management System (**EDMS**) and Customer Service Portal. DEC no longer accepts paper NOI submittals unless prior approval has been obtained from DEC for an alternative means.

For more information please visit the **EDMS** **information page** (<https://dec.alaska.gov/water/edms>), and to **access the new EDMS system**: <https://dec.alaska.gov/Applications/Water/EDMS/> )

**Using the ANC-GP SWPPP Template**

Tips for completing the Template:

* This Template is designed for use by all facilities eligible for coverage under the ANC-GP.
* Complete a SWPPP before submitting your Notice of Intent (NOI) for permit coverage.
* Much of the ANC-GP SWPPP can be “cut and pasted” from the previous MSGP SWPPP.
* Each section includes “instructions” and space for your facility’s specific information. You should read the instructions for each section before you complete that section.
* The Template was developed in Microsoft Word so that you can easily add tables and additional text. Some sections may require only a brief description while others may require several pages of explanation.
* To make it easier to complete, the Template generally uses **blue text** where the operator is expected to enter information.

DEC notes that while DEC has made every effort to ensure the accuracy of all instructions and guidance contained in the Template, the actual obligations of regulated industrial facilities are determined by the relevant provisions of the permit, not by the Template. In the event of a conflict between the Template and any corresponding provision of the ANC-GP, the permit controls. DEC welcomes comments on the Template at any time and will consider those comments in any future revision of this document.

Storm Water Pollution Prevention Plan

for:

Insert Facility Name  
Insert Facility Address  
Insert City, State, Zip Code  
Insert Facility Telephone Number (if applicable)

SWPPP Contact(s):

Insert Facility Operator  
Insert Name  
Insert Address  
Insert City, State, Zip Code  
Insert Telephone Number  
Insert Fax/Email

SWPPP Preparation Date:

Click or tap to enter a date.

APDES Permit Tracking Number: AKR061\_\_ \_\_ \_\_ \_\_

Contents

[Section 1: FACILITY DESCRIPTION AND CONTACT INFORMATION 4](#_Toc175233701)

[1.1 Facility Information 4](#_Toc175233702)

[1.2 Contact Information/Responsible Parties 5](#_Toc175233703)

[1.3 Storm Water Pollution Prevention Team 5](#_Toc175233704)

[1.4 Activities at the Facility 6](#_Toc175233705)

[1.5 General Location Map 6](#_Toc175233706)

[1.6 Site Map(s) 7](#_Toc175233707)

[Section 2: POTENTIAL POLLUTANT SOURCES 8](#_Toc175233708)

[2.1 Industrial Activity and Associated Pollutants 8](#_Toc175233709)

[2.2 Spills and Leaks 8](#_Toc175233710)

[2.2.1 Areas of Site Where Potential Spills/Leaks Could Occur 8](#_Toc175233711)

[2.2.2 Description of Past Spills/Leaks 9](#_Toc175233712)

[2.3 Non-Storm Water Discharges Documentation 9](#_Toc175233713)

[2.4 Salt Storage 9](#_Toc175233714)

[2.5 Sampling Data Summary 9](#_Toc175233715)

[Section 3: STORM WATER CONTROL MEASURES 10](#_Toc175233716)

[3.1 Minimize Exposure 10](#_Toc175233717)

[3.2 Good Housekeeping 10](#_Toc175233718)

[3.3 Maintenance 10](#_Toc175233719)

[3.4 Spill Prevention and Response 11](#_Toc175233720)

[3.5 Erosion and Sediment Controls 11](#_Toc175233721)

[3.6 Management of Runoff 11](#_Toc175233722)

[3.7 Salt Storage Piles or Piles Containing Salt 12](#_Toc175233723)

[3.8 Employee Training 12](#_Toc175233724)

[3.9 Non-Storm Water Discharges 12](#_Toc175233725)

[3.10 Waste, Garbage and Floatable Debris 12](#_Toc175233726)

[Section 4: SCHEDULES AND PROCEDURES FOR MONITORING 13](#_Toc175233727)

[Section 5: INSPECTIONS 14](#_Toc175233728)

[Section 6: SWPPP Certification 15](#_Toc175233729)

# FACILITY DESCRIPTION AND CONTACT INFORMATION

## Facility Information

**1.1 Instructions**: (you may delete these instructions)

* You will need the information from this section to complete your NOI.
* For further instruction, refer to the ANC-GP NOI form and instructions – specifically section I of the NOI. A copy of the ANC-GP NOI is available at [https://dec.alaska.gov/water/wastewater/ stormwater/permits-approvals/anc-gp](https://dec.alaska.gov/water/wastewater/%20stormwater/permits-approvals/anc-gp) (Appendix E of the permit)
* Information on determining your site’s latitude and longitude coordinates can be obtained in a variety of ways, including use of handheld devices (e.g., a GPS enabled smartphone), internet mapping tools, geographic information systems (e.g., ArcView), or paper maps from trusted sources (e.g., USGS). Record your facilities latitude and longitude in decimal degrees (e.g., 61.176916, -149.990601).
* You must include a copy of the ANC-GP, or a reference or link to where a copy can be found, in Attachment C of your SWPPP.

**Facility Information**

Name of Facility: Click or tap here to enter text.

Street Address: Click or tap here to enter text. City: Anchorage State: AK Zip: 99519

Permit Tracking Number: Click or tap here to enter text.

Latitude, Longitude (decimal, six places): Click or tap here to enter text., Click or tap here to enter text.

Estimated area of industrial activity at site exposed to storm water (acres): Click or tap here to enter text.

**Discharge Information:**

Does this facility discharge storm water into an MS4?  Yes,  No  
 If yes, name of MS4 operator: Click or tap here to enter text.

Name(s) of water(s) that receive storm water from your facility: Click or tap here to enter text.

Are any of your discharges directly into any segment of an “impaired” water?  Yes,  No  
 If yes, identify the name of the impaired water (and segment, if applicable): Click or tap here to enter text.

Identify the pollutant(s) causing the impairment: Click or tap here to enter text.

For the pollutants identified, which do you have a reason to believe will be present in your discharge? Click or tap here to enter text.

For the pollutants identified, which have a completed TMDL? Click or tap here to enter text.

Are any of your storm water discharges subject to effluent guidelines?  Yes,  No  
 If yes, which guidelines apply? Click or tap here to enter text.

Primary NAICS Code or SIC and 2-letter Activity Code: Click or tap here to enter text.

Identify your applicable sector and subsector: Click or tap here to enter text.

## Contact Information/Responsible Parties

**1.2 Instructions**: (you may delete these instructions)

* You will need the information from this section to complete your NOI.
* List the facility operator(s), facility owner, and 24-hour emergency contact. Indicate respective responsibilities, where appropriate.
* Refer to Section III of the NOI instructions (available in Appendix E of the ANC-GP.

**Facility Operator(s)**:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name:  Click or tap here to enter text. | | Title:  Click or tap here to enter text. | | |
| Address:  Click or tap here to enter text. | City:  Click or tap here to enter text. | | State:  AK | Zip:  Enter Text |
| Phone:  Click or tap here to enter text. | | Email:  Click or tap here to enter text. | | |

**Facility Owner(s)**:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name:  Click or tap here to enter text. | | Title:  Click or tap here to enter text. | | |
| Address:  Click or tap here to enter text. | City:  Click or tap here to enter text. | | State:  AK | Zip:  Enter Text |
| Phone:  Click or tap here to enter text. | | Email:  Click or tap here to enter text. | | |

**SWPPP Contact(s)**:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name:  Click or tap here to enter text. | | Title:  Click or tap here to enter text. | | |
| Address:  Click or tap here to enter text. | City:  Click or tap here to enter text. | | State:  AK | Zip:  Enter Text |
| Phone:  Click or tap here to enter text. | | Email:  Click or tap here to enter text. | | |

## Storm Water Pollution Prevention Team

**1.3 Instructions**: (see ANC-GP Part 5.5.2; *you may delete these instructions)*

* Identify the staff members (by name or title) that comprise the facility’s storm water pollution prevention team as well as their individual responsibilities.
* Your storm water pollution prevention team is responsible for assisting the facility manager in developing and revising the facility’s SWPPP, implementing and maintaining control measures/BMPs, and taking corrective actions where required. Each member of the storm water pollution prevention team must have ready access to either an electronic or paper copy of applicable portions of the ANC-GP and your SWPPP.

|  |  |
| --- | --- |
| **Staff Names** | **Individual Responsibilities** |
| Insert name of SWPPP team member | Insert explanation of that staff person’s responsibilities relating to compliance with the permit. |
| Repeat as necessary | Repeat as necessary |
| Repeat as necessary | Repeat as necessary |

## Activities at the Facility

**1.4 Instructions**: (see ANC-GP Part 5.5.3.1; *you may delete these instructions)*

* Provide a general description of the nature of the industrial activities at your facility.

Click or tap here to enter text.

## General Location Map

**1.5 Instructions**: (see ANC-GP Part 5.5.3.4; *you may delete these instructions)*

* Provide a general location map with enough detail to identify the location of your facility and all receiving waters for your storm water discharges (include as Attachment A of this SWPPP Template)

Include a copy of the general location map for this facility in Attachment A

## Site Map(s)

**1.6 Instructions**: (see ANC-GP Part 5.5.3.5; *you may delete these instructions)*

Include a map or maps showing the following information. The site map(s) should be included as Attachment B of this SWPPP Template.

* the size of the property in acres;
* the location and extent of significant structures and impervious surfaces;
* directions of storm water flow (use arrows);
* locations of all existing structural control measures;
* locations of all receiving waters in the immediate vicinity of your facility, indicating if any of the waters are impaired and, if so, whether the waters have TMDLs established for them;
* locations of all storm water conveyances including ditches, pipes, and swales;
* locations of potential pollutant sources identified under ANC-GP, Part 5.5.4.2;
* for aircraft deicing contractors, locations of historic application of deicing fluid;
* locations where significant spills or leaks identified under ANC-GP, Part 5.5.4.3 have occurred;
* locations of all storm water monitoring points;
* locations of storm water inlets and outfalls, with a unique identification code for each outfall (e.g., Outfall No. 1, No. 2, etc), and an approximate outline of the areas draining to each outfall;
* municipal separate storm sewer systems, where your storm water discharges to them;
* locations and descriptions of all non-storm water discharges identified under MSGP, Part 4.2.9;
* locations of the following activities where such activities are exposed to precipitation:
  + fueling stations;
  + vehicle and equipment maintenance and/or cleaning areas;
  + loading/unloading areas;
  + locations used for the treatment, storage, or disposal of wastes;
  + liquid storage tanks;
  + processing and storage areas;
  + immediate access roads and rail lines used or traveled by carriers of raw materials, manufactured products, waste material, or by-products used or created by the facility;
  + transfer areas for substances in bulk; and
  + machinery.
* locations and sources of run-on to your site from adjacent property that contains significant quantities of pollutants.

Include a copy of the site map for this facility in Attachment B.

# POTENTIAL POLLUTANT SOURCES

**2.0 Instructions**: (see ANC-GP Part 5.5.4; *you may delete these instructions)*

In this section, you are required to describe areas at your facility where industrial materials or activities are exposed to storm water or from which allowable non-storm water discharges are released.

## Industrial Activity and Associated Pollutants

**2.1 Instructions**: (see ANC-GP Part 5.5.4.1 and 5.5.4.2; *you may delete these instructions)*

* Include a list of industrial activities exposed to storm water (e.g., material storage; equipment/vehicle fueling, maintenance, deicing aircraft, and cleaning; cutting steel beams) and the pollutants or pollutant constituents (e.g., motor oil, fuel, battery acid, deicing fluid, and cleaning solvents) associated with these activities.
* In your list of pollutants associated with your industrial activities, include all significant materials that have been handled, treated, stored, or disposed, and that have been exposed to storm water in the 3 years prior to the date you prepare your SWPPP.

|  |  |
| --- | --- |
| Industrial Activity | Associated Pollutants |
| Insert specific industrial activity | Insert names of pollutants or pollutant constituents that could be associated with this activity and released in storm water |
| [Repeat as necessary] | [Repeat as necessary] |

## Spills and Leaks

**2.2 Instructions**: (see ANC-GP Part 5.5.4.3; *you may delete these instructions)*

Include the following in this section:

* **Potential spills and leaks**: A description of where potential spills and leaks could occur at your site that could contribute pollutants to your storm water discharge, and specify which outfall(s) are likely to be affected by such spills and leaks.
* **Past spills and leaks**: A description of significant spills and leaks in the past 3 years of oil or toxic or hazardous pollutants that actually occurred at exposed areas, or that drained to a storm water conveyance.
* *Note: Significant spills and leaks include, but are not limited to, releases of oil or hazardous substances in excess of quantities that are reportable under CWA Section 311 (see 40 CFR 110.6 and 40 CFR 117.21) or Section 102 of the Comprehensive Environmental Response, Compensation and Liability Act (CERCLA), 42 USC §9602*.

### Areas of Site Where Potential Spills/Leaks Could Occur

| Location | Outfalls |
| --- | --- |
| Insert description of area where spill/leak could occur | Specify which outfall(s) would be affected |
| [Repeat as necessary] | [Repeat as necessary] |

### Description of Past Spills/Leaks

| Date | Location | Outfalls |
| --- | --- | --- |
| Insert date of spill/leak | Insert description of spill/leak (where it occurred, what happened, types of pollutants, extent of damage) | Specify which outfall(s) would be affected |
| [Repeat as necessary] | [Repeat as necessary] | [Repeat as necessary] |

## Non-Storm Water Discharges Documentation

**2.3 Instructions**: (see ANC-GP Part 5.5.4.4; *you may delete these instructions)*

The questions below require you to provide documentation of the following:

* Your evaluation for the presence of non-storm water discharges at your site; and
* Your elimination of any unauthorized non-storm water discharges.

Date of evaluation: insert the date(s) of your evaluation.

Description of the evaluation criteria used: Describe the method you used to conduct your evaluation and to determine for each non-storm water sources whether it is prohibited or allowed under the permit.

List of the outfalls or onsite drainage points that were directly observed during the evaluation: Insert outfalls/drainage points observed.

Different types of non-storm water discharge(s) and source locations: Describe types of non-storm water discharges observed and the corresponding outfall or drainage point.

Action(s) taken, such as a list of control measures used to eliminate unauthorized discharge(s), if any were identified. For example, a floor drain was sealed, a sink drain was re-routed to sanitary, or an NPDES permit application was submitted for an unauthorized cooling water discharge: Describe actions taken to eliminate unauthorized non-storm water discharges and the corresponding outfall/drainage point affected.

**2.4 Instructions**: (see ANC-GP Part 5.5.4.5; *you may delete these instructions)*

Document the location of any storage piles containing salt used for deicing or other commercial or industrial purposes.

*Note: You will be asked additional questions concerning salt storage in Section 3.7 of this SWPPP template, below.*

## Salt Storage

Insert description of the location of any storage piles containing salt.

## Sampling Data Summary

**2.5 Instructions**: (see ANC-GP Part 5.5.4.6; *you may delete these instructions)*

Summarize all storm water sampling data collected from your permitted outfalls during the previous permit term. This is for the Airport Authority only. Co-permittees must maintain a copy of the data summary in their SWPPP

# STORM WATER CONTROL MEASURES

**3.0 Instructions**: (see ANC-GP Part 5.5.5.1 and 4.2; *you may delete these instructions)*

In Sections 3.1 - 3.12 of this SWPPP template, you are asked to describe the storm water control measures that you have installed at your site to meet each of the permit’s “non-numeric effluent limits” in Part 4.2 of the ANC-GP.

## Minimize Exposure

**3.1 Instructions**: (see ANC-GP Part 4.2.1; *you may delete these instructions)*

Describe any structural controls or practices used to minimize the exposure of industrial activities to rain, snow, snowmelt, and runoff. Describe where the controls or practices are being implemented at your site.

Insert description of control measures here.

## Good Housekeeping

**3.2 Instructions**: (see ANC-GP Part 4.2.2 and 5.5.6.1; *you may delete these instructions)*

Describe any practices you are implementing to keep exposed areas of your site clean.

Describe where each practice is being implemented at your site. Include here your schedule for:

1. regular pickup and disposal of waste materials, and
2. routine inspections for leaks and of the condition of drums, tanks, and containers.

Insert description of control measures here.

## Maintenance

**3.3 Instructions**: (see ANC-GP Part 4.2.3 and 5.5.6.1; *you may delete these instructions)*

Describe procedures

1. to maintain industrial equipment so that spills/leaks are avoided, and
2. to maintain any of your site’s control measures in effective operating condition.

Include the schedule you will follow for such maintenance activities.

Describe where each applicable procedure is being implemented at the site.

Insert description of control measures here.

## Spill Prevention and Response

Insert description of control measures here.

**3.4 Instructions**: (see ANC-GP Part 4.2.4 and 5.5.6.1; *you may delete these instructions)*

Describe any structural controls or procedures used to minimize the potential for leaks, spills, and other releases. You must implement the following at a minimum:

* Procedures for plainly labeling containers (e.g., “Used Oil,” “Spent Solvents,” “Fertilizers and Pesticides,” etc.) that could be susceptible to spillage or leakage to encourage proper handling and facilitate rapid response if spills or leaks occur;
* Preventative measures such as barriers between material storage and traffic areas, secondary containment provisions, and procedures for material storage and handling;
* Procedures for expeditiously stopping, containing, and cleaning up leaks, spills, and other releases; and
* Procedures for notification of appropriate facility personnel, emergency response agencies, and regulatory agencies.

Describe where each control is to be located or where applicable procedures will be implemented.

*Note: Some facilities may be required to develop a Spill Prevention Control and Countermeasure (SPCC) plan under a separate regulatory program (40 CFR 112). If you are required to develop an SPCC plan, or you already have one, you should include references to the relevant requirements from your plan.*

## Erosion and Sediment Controls

**3.5 Instructions**: (see ANC-GP Part 4.2.5; *you may delete these instructions)*

Describe structural or non-structural controls used at your site to stabilize exposed areas and contain runoff to minimize onsite erosion and potential offsite discharges of sediment.

Describe the location at your site where each control will be implemented.

*Note: You must at a minimum implement flow velocity dissipation devices at outfalls and discharge channels.*

Insert description of control measures here.

## Management of Runoff

**3.6 Instructions**: (see ANC-GP Part 4.2.6; *you may delete these instructions)*

Describe controls used at your site to divert, infiltrate, reuse, contain, or otherwise reduce storm water runoff. Describe the location at your site where each control will be implemented.

Insert description of control measures here.

## Salt Storage Piles or Piles Containing Salt

**3.7 Instructions**: (see ANC-GP Part 4.2.7; *you may delete these instructions)*

If applicable, describe structures at your site that either cover or enclose salt storage piles or piles containing salt, or that prevent the discharge of storm water from such piles. Also, describe any controls or procedures used to minimize exposure resulting from adding to or removing materials from the pile. Describe the location at your site where each control and/or procedure will be implemented.

Insert description of control measures here.

## Employee Training

**3.8 Instructions**: (see ANC-GP Part 4.2.8, 5.5.6.1 and 5.11.5; *you may delete these instructions)*

Describe your plan for training the employees who work in areas where industrial materials or activities are exposed to storm water, or who are responsible for implementing activities necessary to meet the conditions of the ANC-GP, including all members of your Pollution Prevention Team. Included in your description must be the frequency of training (note: recommended at least one time per year), and the schedule you will follow.

Insert description of plan for training applicable to staff here.

## Non-Storm Water Discharges

**3.9 Instructions**: (see ANC-GP Part 4.2.9; *you may delete these instructions)*

Describe how you eliminated any unauthorized non-storm water discharges at your site. The unauthorized non-storm water discharges include any non-storm water discharges that are not specifically identified in Part 1.2.3 of the ANC-GP. Note: If this section is already addressed by your documentation for Section 2.3 of the SWPPP template, you can simply include a cross-reference to that section of your SWPPP.

Insert description of your approach to eliminating unauthorized non-storm water discharges here.

## Waste, Garbage and Floatable Debris

**3.10 Instructions**: (see ANC-GP Part 4.2.10; *you may delete these instructions)*

Describe controls and procedures that will be used at your site to minimize discharges of waste, garbage, and floatable debris. Describe the location at your site where each control and/or procedure will be implemented.

Insert description of control measures here.

# SCHEDULES AND PROCEDURES FOR MONITORING

**4.0 Instructions**: (see ANC-GP Part 5.5.6.2; *you may delete these instructions)*

Describe your procedures for conducting the analytical monitoring specified by the ANC-GP, where applicable to your facility, including:

* Effluent limitations guidelines monitoring (ANC-GP, Part 8.3..2); and
* Other monitoring as required by DEC (ANC-GP, Part 8.3.3).

Depending on the type of facility you operate, and the monitoring requirements to which you are subject, the Airport Authority must collect and analyze storm water samples and document monitoring activities consistent with the procedures described in ANC-GP, Part 8 and Appendix A, Refer to ANC-GP, Part 10 for reporting and recordkeeping requirements.  *Note: All monitoring must be conducted in accordance with the relevant sampling and analysis requirements at 40 CFR Part 136. Include in your description procedures for ensuring compliance with these requirements.*

The Airport Authority must include the following documentation in your quarterly visual assessment requirements in ANC-GP, Part 7.2:

* Description of the general industrial activities conducted in the drainage area of each outfall;
* Description of the control measures implemented in the drainage area of each outfall;
* Description of the exposed materials located in the drainage area of each outfall that are likely to be significant contributors of pollutants to storm water discharges;
* An estimate of the runoff coefficient of the drainage areas (low = under 40%; medium = 40 to 65%; high = above 65%); and
* Why the outfalls are expected to discharge substantially identical effluents.

For each type of monitoring, your SWPPP must include a description of:

* **Sample Location(s)**. Describe where samples will be collected. Click or tap here to enter text.
* **Pollutant Parameters to be Sampled**. Include a list of the pollutant parameters that will be sampled and the frequency of sampling for each parameter. Click or tap here to enter text.
* **Monitoring Schedules**. Include the schedule you will follow for monitoring your storm water discharge, including where applicable any alternate monitoring periods to be used for facilities in climates with irregular storm water runoff (ANC-GP, Part 8.2.3). Click or tap here to enter text.
* **Numeric Limitations**. List here any pollutant parameters subject to numeric limits (effluent limitations guidelines). Click or tap here to enter text.
* **Procedures**. Describe procedures you will follow for collecting samples, including responsible staff who will be involved, logistics for taking and handling samples, laboratory to be used, etc. Click or tap here to enter text.

*Note: It may be helpful to create a table with columns corresponding to # 1 - 5 above for each type of monitoring you are required to conduct.*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sample Location(s) | Pollutant Parameters to be Sampled | Monitoring Schedules | Numeric Limitations | Procedures |
|  |  |  |  |  |

# INSPECTIONS

**5.0 Instructions**: (*you may delete these instructions)*

Describe your procedures for performing the three types of inspections required by the ANC-GP, including:

* Routine facility inspections (ANC-GP, Part 7.1);
* Quarterly visual assessment of storm water discharges (ANC-GP, Part 7.2; For the Airport Authority only); and
* Comprehensive site inspections (ANC-GP, Part 7.3).

A sample routine facility inspection and quarterly visual assessment form is available on DEC’s APDES Storm Water Forms website (<https://dec.alaska.gov/water/wastewater/stormwater/resources/forms/#ANC-GP>) under heading ”Ted Stevens Anchorage International Airport GP (ANC-GP).” Appendix E of the ANC-GP includes a comprehensive site inspection form (Annual Reporting Form).

For the routine facility inspections and the comprehensive site inspections to be performed at your site, include a description of the following:

* The names of the person(s), or the positions of the person(s), responsible for inspection: Click or tap here to enter text.
* The schedules to be used for conducting inspections. Include here any tentative schedule that will be used for facilities in climates with irregular storm water runoff discharges: Click or tap here to enter text.
* Specific areas of the facility to be inspected, including schedules for specific outfalls: Click or tap here to enter text.

For the quarterly visual assessments to be performed at your site, include a description of the following:

* The names of the person(s), or the positions of the person(s), responsible for inspection: Click or tap here to enter text.
* The schedules to be used for conducting inspections. Include here any tentative schedule that will be used for facilities in climates with irregular storm water runoff discharges (ANC-GP, Part 7.2.2): Click or tap here to enter text.
* Specific areas of the facility to be inspected, including schedules for specific outfalls: Click or tap here to enter text.

# SWPPP Certification

**6.0 Instructions**: (see MSGP Part 5.5.8; *you may delete these instructions)*

The following certification statement must be signed and dated by a person who meets the requirements of Appendix A, Subsection 1.12, of the ANC-GP. Note: This certification must be re-signed in the event of a SWPPP modification in response to a Part 9.1 trigger for corrective action.

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

|  |  |  |  |
| --- | --- | --- | --- |
| Click or tap here to enter text. |  | Click or tap here to enter text. | |
| Name |  | Title | |
|  |  | Click or tap to enter a date. |
| Signature |  | Date Signed |